
[image: image96.wmf]42

44

200

1

44

45

200

9

44

47

250

1

45

46

300

9

47

48

150

4

47

49

250

4

49

50

250

4

50

51

250

4

52

53

200

1

53

54

125

1

54

55

275

1

54

57

350

3

55

56

275

1

57

58

250

10

57

60

750

3

58

59

250

10

60

61

550

5

60

62

250

12

62

63

175

12

63

64

350

12

64

65

425

12

65

66

325

12

67

68

200

9

67

72

275

3

67

97

250

3

68

69

275

9

69

70

325

9

70

71

275

9

72

73

275

11

72

76

200

3

73

74

350

11

74

75

400

11

76

77

400

6

76

86

700

3

77

78

100

6

78

79

225

6

78

80

475

6

80

81

475

6

81

82

250

6

81

84

675

11

82

83

250

6

84

85

475

11

86

87

450

6

87

88

175

9

87

89

275

6


               CERTIFICATE

I hereby certify that the work which is being presented in the thesis entitled, “Load Flow Solution of Radial Distribution Systems Using Two Port Parameters”, in partial fulfillment of the  requirements for the award of degree of Master of Engineering in Power Systems and Electric Drives   submitted in Electrical and Instrumentation Engineering Department of Thapar University, Patiala, is an authentic record of my own work carried out under the supervision of Mr. N.Patnaik and Dr. S. Ghosh.
The matter presented in this thesis has not been submitted for the award of any other   degree of this or any other university.

                                                                                                                  (Maninder Singh)

This is to certify that the above statement made by the candidate is correct and true to the

best of my knowledge.

(Mr. N. Patnaik)                                                                        ( Dr. S. Ghosh)

Industrial Supervisor                                                             Administrative Supervisor                         

Centre Head, ESL India Ltd.                                                     Prof., EIED                             

Gurgaon                                                                                    Thapar University, Patiala

Countersigned By

(Dr. S. Ghosh )                                                                         ( Dr. R. K. Sharma)

Head, EIED                                                                            Dean, Academic Affairs

Thapar University, Patiala                                                     Thapar University, Patiala 

 ACKNOWLEGEMENT

Words are often too less to reveal one’s deep regards. An understanding of the work like

this is never the outcome of the efforts of a single person. I take this opportunity to express my profound sense of gratitude and respect to all those who helped me through the duration of this thesis.

First, I would like to thank the Supreme Power, the GOD, who guided me to work on the right path of life. Without his grace, this would not have been possible. This work would not have been possible without the encouragement and able guidance of Dr. S. Ghosh, Professor& Head, EIED, TU. His enthusiasm and optimism made this experience both rewarding and enjoyable. Most of the novel ideas and solutions found in this thesis are the result of our numerous stimulating discussions. His feedback and   editorial comments were also invaluable for the writing of this thesis.
Secondly, to express my sincere thanks to Mr. N.Patnaik, Centre Head, ESL India Ltd., Gurgaon, without whose guidance the work would not have been possible. I am extremely thankful to him for his guidance and support in completion of this work.

I would also like to give thanks to all the employees of ESL India Ltd. for their help and encouragement.

I take pride of my self being son of ideal great parents whose everlasting desire, sacrifice, affectionate blessing and help without which it would have not been possible for me to complete my studies.

At last, I would like to thank faculty and staff of Electrical and Instrumentation Engineering Department, whose love and affection has always encouraged me.

                                                                                   MANINDER SINGH  
 CONTENTS

CERTIFICATE                                                                                                                 i

ACKNOWLEDGEMENTS                                                                                              ii

CONTENTS                                                                                                                      iii                    

LIST OF FIGURES                                                                                                          v

LIST OF TABLES                                                                                                            vi

KEYWORDS                                                   




      vii          


ABSTRACT                                                                                                                     viii

CHAPTER 1: INTRODUCTION                                                                                 1-5

                        1.1 Introduction                                                                                            1

                        1.2 Literature Review                                                                                  1

                        1.3 Scope of Thesis                                                                                      4



1.4 Organisation of Thesis





          5

CHAPTER 2: NETWORK MODELLING                                                                6-38

                        2.1 Introduction                                                                                           6

                        2.2 Generalized two port parameter modeling                                            6

                        2.3 Derivation of two port parameter                                                          8

                             2.3.1 Shunt Capacitors                                                                           8

                             2.3.2 Shunt Reactors                                                                             14

                             2.3.3 Branch                                                                                          20

                             2.3.6 Series Reactor                                                                              21

                             2.3.5 Distribution line                                                                           21

                             2.3.6 Single phase transformer                                                             25

                             2.3.7 Three phase transformer                                                              29

                             2.3.8 Three phase regulator                                                                  35

CHAPTER 3: DISTRIBUTION SYSTEM LOAD FLOW                                  38-41 
                       3.1 Introduction                                                                                      38

                       3.2 Load flow algorithm                                                                         39 

                       3.3 Enerlyser Software                                                                           40

CHAPTER 4: RESUTS                                                                                           42-55

                      4.1 IEEE 123 node Distribution System                                                 42

                      4.2 Comparison of results                                                                       43

CHAPTER 5: CONCLUSION AND FUTURE SCOPE                                         56                                                                                                                                                                            

APPENDIX - A                                                                                                         57-63     

REFERENCES                                                                                                         64-66
                                     LIST OF FIGURES



Caption





    PP. No.
Fig. 2.1 Shunt Capacitors (phase to neutral connection)                                             8

Fig. 2.2 Shunt Capacitors (phase to phase connection)                                              10

Fig. 2.3 Shunt Capacitors (ungrounded wye connection)                                           12

Fig. 2.4 Shunt Reactors (phase to neutral connection)                                                14

Fig. 2.5 Shunt Reactors (phase to phase connection)                                                  16

Fig. 2.6 Shunt Capacitors (ungrounded wye connection)                                            18   

Fig. 2.7 Distribution line model                                                                                   21

Fig. 2.8 Three phase transformer (delta-star grounded)                                              29

Fig. 2.9 Three phase transformer (star ungrounded-star grounded)                            31

Fig. 2.10 Three phase transformer (star grounded-star grounded)                              33

Fig. 2.11 Three phase voltage regulator (star connected)                                            35

Fig. 4.1 IEEE 123 node Test Feeder                                                                            42

                                                  LIST OF TABLES



Title






       PP. No.
Table 4.1 Comparison of Current                                                                              43

Table 4.2 Comparison of Line losses                                                                         47

Table 4.3 Comparison of Voltages                                                                            51

Table 4.4 Summary of Load Flow results                                                                  55

Table A.1 Regulator data                                                                                            57 

Table A.2 Line segment data                                                                                      58

Table A.3 Overhead line Configurations                                                                    59

Table A.4 Transformer data                                                                                        59

Table A.5 Shunt Capacitors                                                                                        59

Table A.6 Three phase switches                                                                                59

Table A.7 Spot loads data                                                                                          60

                                      KEY WORDS

E                                                    Earth

f                                                     System frequency

In                                                     Load side neutral current

IN                                                                             Source side neutral current

Lx                                                   Per phase shunt inductance
l                                                      Length of branch

N                                                     Neutral

nta                                                    Transformer winding ratio

0                                                     Zero matrix

Rx                                                    Per phase shunt resistance

U                                                     Unity matrix

VNE                                                     Source side neutral to earth voltage

Vne                                                   Load side neutral to earth voltage
Y                                                     Shunt branch admittance

Zta                                                   Series impedance of transformer referred to secondary

Zn                                                            Transformer neutral impedance

aRa, aRb, aRc                                       Effective turns ratio for single phase regulator

Ia, Ib, Ic,                                           Load side line currents
IA, IB, IC,                                         Source side line currents

Vae,Vbe,Vce,                                     Load side line to earth voltages
VAE,VBE,VCE,                                 Source side line to earth voltages
                                                       ABSTRACT

A load flow is an essential tool for the steady state analysis of a power system. Load flow involves calculation of bus voltages, line currents, line flows and losses given full network parameters, complex loads and one bus voltage as reference at steady state condition. Distribution load flow is a very important tool for the analysis of distribution systems and is used in operational as well as it’s planning. Generally, for distribution system load flow solution, Forward- backward sweep algorithm is used in which voltages are updated in forward sweep and currents in backward sweep.

                        The aim of the present work is to develop the various distribution system network elements models in terms of two port parameter. With these network elements modeling, a load flow algorithm based on Forward- backward sweep technique has been developed .This algorithm is tested on standard IEEE 123 node distribution system with the help of Enerlyser software. The results from Enerlyser software and IEEE results are compared. This proposed algorithm converges fast as there in no matrix factorization and inversion.

CHAPTER −1

                                                                           INTRODUCTION

[image: image1.emf]                      LOAD FLOW SOLUTION OF RADIAL               DISTRIBUTION SYSTEM S  USING TWO PORT                                              PARAMETERS     Thesis submitted in partial fulfillment of the requirements for the award of  degree of     Master of Engineering    i n                                         Power S ystem s & E lectric  D rives         Thapar University, Patiala       By:   Maninder Singh   (80641011 )       Under the supervision of:                                                         N.  Patnaik                                                            Dr. S. Ghosh        Centre  Head, ESL  India Ltd.                              Professor, EIED      (A Group Company of Secure Meters)      Gurgaon           June 2009             ELECTRICAL & INSTRUMENTATION ENGG. DEPARTMENT   THAPAR UNIVERS ITY    PATIALA  –  147004  


1.1 INTRODUCTION

A load-flow is an essential tool for the steady state analysis of a power system. The main objective of the load-flow analysis is to find out the real and reactive powers flowing in each line along with the magnitude and phase angle of the voltage at each bus of the system for the specific loading conditions. Distribution load-flow is a very important tool for the analysis of distribution systems and is used in operational as well as planning environments. Many real-time  applications in the distribution automation system (DAS) and distribution management system (DMS), such as network optimization, VAr planning, switching, state estimation and so forth, need the support of a robust and efficient power-flow method. Such a power-flow solution must be able to model the special features of distribution systems in sufficient detail. Some of the inherent features of electric distribution systems are:

(1) a radial network structure,

(2) an unbalanced distributed load and unbalanced operation,

(3) an extremely large number of branches/nodes, and

(4) a wide range of resistance and reactance values. The distribution networks are radial in nature having high R/X ratio where as transmission networks are loop in nature having high X/R ratio. 
These features cause the traditional power-flow methods, the Gauss-Seidel and Newton-Raphson techniques, which arise from the transmission area, to lack either computer economy or robustness in distribution applications. The Gauss-Seidel, Newton-Raphson and Fast decoupled load-flow fail to converge to distribution systems because these networks have high R/X ratio.

1.2 LITERATURE OVERVIEW

Many load-flow techniques are available in literature for transmission systems. A few load-flow techniques had been proposed for distribution systems. The literature survey for distribution systems is discussed below.

Shirmohammadi et al. [1], need Kirchhoff’s voltage and current laws for solving radial distribution networks. In their method, a branch-numbering scheme was employed to enhance the computations. The method was then extended to apply to weakly meshed networks. In their method, they first break the interconnected grid at a number of points (breakpoints) in order to convert it into one simple radial network. Each breakpoint would open one simple loop. The radial network was solved by direct application of Kirchhoff’s laws. They accounted for the flows at the breakpoints by injecting currents at their two end nodes. The numerical efficiency of their method, however, diminished as the number of breakpoints required to convert the meshed network to a radial configuration increases. This restricts the practical application of the method to weakly meshed networks.
Goswami and Basu [2] presented a direct method for solving radial and meshed distribution networks. Their method had the advantages of a no convergence problem, a guaranteed accurate solution for any realistic distribution system, and the ease with which composite loads could be represented. The disadvantages were difficulty numbering the nodes and branches, and that no node in the network is the junction of more than three branches.

Das et al. [3] presented a load-flow method for radial distribution networks based on evaluating the total real and reactive power fed through any node. They created a unique node, branch, and lateral numbering scheme to enhance the evaluations of real and reactive loads fed through any node and receiving-end voltages. Their method has the advantage that all data can be stored in vector forms, saving an enormous amount of computer memory.

Baran and Wu [4, 5] performed load-flow analysis in a distribution system using an iterative solution of three fundamental equations representing real and reactive power, and voltage magnitude. The three equations were useful because they could be used in real systems rather than in other classically known forms. Here, they computed the system Jacobian matrix using a chain rule. The mismatches and the Jacobian matrix involved only evaluating simple algebraic expressions and no trigonometric functions. The formulation and evaluation of Jacobians were time consuming and require large amounts of computer memory storage.
Ghosh and Das [6] presented a method for solving radial distribution networks by evaluating an algebraic expression of receiving-end voltages. In this method, the authors assumed an initial flat voltage for all nodes. They proposed an “IDENT” software to computer nodes beyond each branch. The loads and charging currents were calculated at first and then the branch currents. The modified nodal voltages were recalculated, as were the losses. Evaluating the difference between new and previous voltage values and then comparing it with an accepted tolerance verified the convergence for this method. Their method was simple and had good and fast convergence, and could be used efficiently for composite load modeling, provided the composition of the loads is known.
Ciric et al. [7] presented a general power-flow algorithm for three-phase four-wire radial distribution networks considering neutral grounding, based on which backward-forward technique. In their method, both the neutral wire and ground were explicitly represented. A problem of three-phase distribution system with earth return, as a special case of a four-wire network, was also elucidated.

Chang et al. [8] presented a simplified forward and backward approach for load-flow analysis in radial distribution system. This method involved two phases. In Phase I (forward sweep), the KCL and KVL were used to compare voltage for each bus located at upstream of each line segment or transformer. In Phase II (backward sweep), the linear proportion concept for real and imaginary decomposition is  adopted to find the ratios of real and imaginary parts of specified voltage to the calculated voltage at each upstream bus. Then, the voltage at each downstream bus was updated by real and imaginary parts of initial or calculated voltage multiplying with the corresponding ratios, respectively. The solution procedure was terminated after the mismatch of calculated voltage and specified voltage of substation was less than the tolerance value.

Golkar [9] presented a novel method for load-flow analysis in radially operated 3-phase distribution networks without solving the well-known conventional load-flow equations. The method could be applied for distribution systems in which the loads were unbalanced. The size of matrix used was very small compared to those in conventional methods, the amount of memory used was very small. Therefore, the speed is very high, and the relative speed of calculation increases with the size of the system.
Teng [10] developed a network-topology-based three-phase distribution power-flow algorithm. The special topology of a distribution network had been fully exploited to make obtaining a direct solution possible. Two developed matrices were enough to obtain the power-flow solution: they are the bus-injection to branch-current matrix and the branch-current to bus-voltage matrix. The traditional Newton Raphson and Gauss implicit Z matrix algorithms, which needed LU decomposition and forward/backward substitution of the Jacobian matrix or the Y admittance matrix, were not needed for this new development. The features of this method were robustness and computer economy.

Kersting [11] presented the complete data for the three four-wire wye and one three-wire delta radial distribution feeders The data is for 123-bus, 34-bus and 13 bus four-wire wye radial distribution feeders and 37-bus three-wire delta radial distribution feeders..

Stot et al. [12] presented a fast decoupled load-flow method to solve the unbalanced three-phase distribution systems. They used the Newton Raphson and Fast decoupled method and developed the new fast decoupled method which would help to calculate the voltage corrections and angle.

Brit et al [13] developed the 3-phase load-flow program which would use for steady state initialization of real time system. The program used the standard 3-phase models and converts these models into its equivalent 1-phase models. In order to had a better convergence for large system, they used the Newton-Raphson algorithm instead of Gauss-Seidal algorithm.

Chen et al. [14] presented the detailed three-phase cogenerator and transformer models for analyzing a large-scale distribution systems. The cogenerator model presented had inherent generator phase imbalance due to distribution systems imbalance. The transformer model considers the copper and core losses, the winding connection, three-phase shifting between primary and secondary windings and off-nominal tapping 

Chen et al. [15] introduced a rigid approach to three phase distribution power-flow analysis for large scale distribution systems. This approach is oriented towards applications in distribution systems operational analysis rather then planning analysis. The system that could be analyzed was balanced or unbalanced, radial or mixed distribution system.

Teng et al. [16] presented a new solution for the unbalanced three-phase power system using Newton-Raphson method. They written the three-phase current injection equations in rectangular coordinates and used the forward-backward sweep method to test the proposed method.
1.3 SCOPE OF THESIS

This thesis will present models and a method to solve the distribution system load-flow

problem using Enerlyser software. Specifically, in this dissertation works following objectives are considered: −

 1. Modified approach to model components for analysis of unbalanced distribution system.

 2. Development of distributed power-flow solution algorithm.    

 3. Investigation of the convergence property of algorithm. 

 4. Verification of proposed work.

1.4 ORGANISATION OF THESIS.
The thesis will progress in the following manner.

1) Chapter 1 covers the Introduction and Literature survey of the distribution systems.

 2) Chapter 2 covers the modeling of unbalanced distribution system network elements using 2−port parameter. 

3) Chapter 3 covers the distribution system load-flow and   a simple efficient load-flow algorithm for radial distribution system using forward-backward sweep solution scheme.

 4) Chapter 4 covers the results which are obtained using Enerlyser software for IEEE 123 node system and the results are compared with standard IEEE 123 node system.  

5) Chapter 5 provides the conclusion of the work done along with the scope for further work. 

CHAPTER −2

                                                           NETWORK MODELLING 

                                       [image: image69.wmf]2

111213

2

122223

2

132333

1000

0

0100

0

0010

0

0001

0000

AAEa

TTT

BBEb

TTT

CCEc

TTT

NNEn

IVI

YYYYYYYYY

IVI

YYYYYYYYY

IVI

YYYYYYYYY

IVI

éù

éù---éùéù

éù

êú

êúêúêú

êú

---

êú

êúêúêú

êú

=+

êú

êúêúêú

êú

---

êú

êúêúêú

êú

ëû

ëûëûëû

ëû


2.1INTRODUCTION

It has become very important and necessary to operate a distribution system at its maximum capacity. Keeping in view the operating limits of distribution system so as to operate distribution system efficiently. For this, the distribution system can be modeled accurately. In this chapter the accurate models for all the major components of a distribution system are developed in terms of two port parameters.

Three-phase four-wire distribution networks are widely adopted in modern power distribution systems. A multi grounded three-phase four-wire service has higher sensitivity for fault protection than a three-phase three-wire service. The return current is due to both the unbalanced load and the nonlinear characteristics of electrical equipment through the distribution feeder. The return current may be larger than the phase currents if three-phase loads are seriously unbalanced in some segments. The neutral play an important role in power quality and safety problems.

In thesis, three-phase four-wire distribution system with single earth wire as a return is considered. The distribution system is unbalanced and neutral is solidly grounded to earth.

2.2. GENERALISED TWO PORT PARAMETER MODELLING
                      Here, the distribution system network elements are modeled using generalized two port parameters defined as follows:

[image: image70.wmf]1

3

4

5

6

2

7

8

12

11

14

10

20

19

22

21

18

35

37

40

135

33

32

31

27

26

25

28

29

30

250

48

47

49

50

51

44

45

46

42

43

41

36

38

39

66

65

64

63

62

60

160

67

57

58

59

54

53

52

55

56

13

34

15

16

17

96

95

94

93

152

92

90

88

91

89

87

86

80

81

82

83

84

78

85

72

73

74

75

77

79

300

111

110

108

109

107

112

113

114

105

106

101

102

103

104

450

100

97

99

68

69

70

71

197

151

150

61

610

 

9

24

23

251

195

451

149

350

76

98

76

[image: image71.wmf]Regulator ID: 

3

Line Segment: 

25 - 26

Location:

25

Phases:

A-C

Connection:

2-Ph,L-G

Monitoring Phase:

A & C

Bandwidth:

1

PT Ratio:

20

Primary CT Rating:

50

Compenator:

Ph-A

Ph-C

R - Setting:

0.4

0.4

X - Setting:

0.4

0.4

Voltage Level:

120

120

Regulator ID: 

4

Line Segment: 

160 - 67

Location:

160

Phases:

A-B-C

Connection:

3-Ph, LG

Monitoring Phase:

A-B-C

Bandwidth:

2

PT Ratio:

20

Primary CT Rating:

300

Compensator:

Ph-A

Ph-B

Ph-C

R - Setting:

0.6

1.4

0.2

X - Setting:

1.3

2.6

1.4

Voltage Level:

124

124

124

[image: image72.wmf]Regulator Data

Regulator ID: 

1

Line Segment: 

150 - 149

Location:

150

Phases:

 A-B-C

Connection:

3-Ph, Wye

Monitoring Phase:

A

Bandwidth:

2.0 volts

PT Ratio:

20

Primary CT Rating:

700

Compensator:

Ph-A

R - Setting:

3

X - Setting:

7.5

Voltage Level:

120

Regulator ID: 

2

Line Segment: 

 9 - 14

Location:

9

Phases:

A

Connection:

1-Ph, L-G

Monitoring Phase:

 A

Bandwidth:

2.0 volts

PT Ratio:

20

Primary CT Rating:

50

Compensator:

Ph-A

R - Setting:

0.4

X - Setting:

0.4

Voltage Level:

120

[image: image73.wmf]Line Segment Data

Node A

Node B

Length (ft.)

Config.

1

2

175

10

1

3

250

11

1

7

300

1

3

4

200

11

3

5

325

11

5

6

250

11

7

8

200

1

8

12

225

10

8

9

225

9

8

13

300

1

9

14

425

9

13

34

150

11

13

18

825

2

14

11

250

9

14

10

250

9

15

16

375

11

15

17

350

11

18

19

250

9

18

21

300

2

19

20

325

9

21

22

525

10

21

23

250

2

23

24

550

11

23

25

275

2

25

26

350

7

25

28

200

2

26

27

275

7

26

31

225

11

27

33

500

9

28

29

300

2

29

30

350

2

30

250

200

2

31

32

300

11

34

15

100

11

35

36

650

8

35

40

250

1

36

37

300

9

36

38

250

10

38

39

325

10

40

41

325

11

40

42

250

1

42

43

500

10

[image: image74.wmf]42

44

200

1

44

45

200

9

44

47

250

1

45

46

300

9

47

48

150

4

47

49

250

4

49

50

250

4

50

51

250

4

52

53

200

1

53

54

125

1

54

55

275

1

54

57

350

3

55

56

275

1

57

58

250

10

57

60

750

3

58

59

250

10

60

61

550

5

60

62

250

12

62

63

175

12

63

64

350

12

64

65

425

12

65

66

325

12

67

68

200

9

67

72

275

3

67

97

250

3

68

69

275

9

69

70

325

9

70

71

275

9

72

73

275

11

72

76

200

3

73

74

350

11

74

75

400

11

76

77

400

6

76

86

700

3

77

78

100

6

78

79

225

6

78

80

475

6

80

81

475

6

81

82

250

6

81

84

675

11

82

83

250

6

84

85

475

11

86

87

450

6

87

88

175

9

87

89

275

6

[image: image75.wmf]Overhead Line Configurations (Config.)

Config.

Phasing

Phase Cond. 

Neutral Cond. 

Spacing

ACSR

ACSR

ID

1

A B C N

336,400 26/7

4/0 6/1

500

2

C A B N

336,400 26/7

4/0 6/1

500

3

B C A N

336,400 26/7

4/0 6/1

500

4

C B A N

336,400 26/7

4/0 6/1

500

5

B A C N

336,400 26/7

4/0 6/1

500

6

A C B N

336,400 26/7

4/0 6/1

500

7

A C N

336,400 26/7

4/0 6/1

505

8

A B N

336,400 26/7

4/0 6/1

505

9

A N

1/0

1/0

510

10

B N 

1/0

1/0

510

11

C N

1/0

1/0

510


   [IABCN]                A        B             [VABCN]                 

                      =                                                                              2.1
  [Vabcn]              C        D             [Iabcn]

[IABCN] =A vector of current on source side
            = [IA      IB      IC      IN] T
[VABCN]= A vector of line to earth voltages on source side
             =[VAE      VBE      VCE      VNE] T

[Iabcn] =  A vector of current on load side
          = [Ia     Ib      Ic      In] T
[Vabcn] = A vector of line to earth voltages on load side
           = [Vae      Vbe      Vce      Vne] T
Where,

IA, IB, IC, is source side line currents.
IN   source side neutral current
VAE, VBE, VCE, are source side line to earth voltages.
VNE  source side neutral to earth voltage.
Ia, Ib, Ic, are load side line currents.
In is load side neutral current.
Vae, Vbe, Vce, are load side line to earth voltages.
Vne is load side neutral to earth voltage.

Here, all the voltages, currents , admittances and impedances are phasor quantities. 
Hence, every device is characterized by 4 matrices (A, B, C, D) of dimension 4X4. Hence, the steps of the load-flow algorithm can be fairly standardized for all devices without having to actually check the type of the device.

Formulation of A, B, C, D matrices for various network elements is described as:

2.3 DERIVATION OF TWO PORT PARAMETER

2.3.1. Shunt Capacitors

(A) Phase to neutral connection :

[image: image2.png]{t—

hdl

W2

Earth

Fig2.l Shunt capacitore ([ phase toe neutral )





(i)  Sending-end Currents:

IA = (VAE – VNE ) Y1 + Ia

    = Y1 VAE – Y1 VNE + Ia
IB = (VBE – VNE ) Y2 + Ib

       =Y2 VBE – Y2 VNE + Ib     
IC = (VCE –VNE ) Y3 + Ic

    = Y3 VCE – Y3 VNE + Ic
IN = −Y1 (VAE – VNE) −Y2 (VBE −VNE) −Y3 (VCE −VNE)+ In
    = −Y1 VAE – Y2 VBE −Y3 VCE + (Y1 + Y2 + Y3) VNE + In
Hence,


[image: image3.wmf]ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

+

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

+

+

-

-

-

-

-

-

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

n

c

b

a

NE

CE

BE

AE

N

C

B

A

I

I

I

I

V

V

V

V

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

I

I

I

I

1

0

0

0

0

1

0

0

0

0

1

0

0

0

0

1

)

(

0

0

0

0

0

0

3

2

1

3

2

1

3

3

2

2

1

1

               2.2
(ii)  Receiving-end Voltages:

Vae = VAE
Vbe = VBE
Vce = VCE
Vne = VNE
Hence,


[image: image4.wmf]ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

+

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

n

c

b

a

NE

CE

BE

AE

ne

ce

be

ae

I

I

I

I

V

V

V

V

V

V

V

V

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

1

0

0

0

0

1

0

0

0

0

1

0

0

0

0

1

                                             2.3

Comparing equations (2.2) and (2.3) with equation (2.1)

[image: image76.wmf]Three Phase Switches

Node A

Node B

Normal

13

152

closed

18

135

closed

60

160

closed

61

610

closed

97

197

closed

150

149

closed

250

251

open

450

451

open

54

94

open

151

300

open

300

350

open

[image: image77.wmf]Shunt Capacitors

Node

Ph-A

Ph-B

Ph-C

kVAr

kVAr

kVAr

83

200

200

200

88

50

90

50

92

50

Total

250

250

250

           Y1         0         0               −Y1
 A =     0          Y2       0              −Y2
            0           0        Y3            −Y3
           −Y1        −Y2     −Y3           Y1 + Y2+ Y3 

[image: image78.wmf]Transformer Data

kVA

kV-high

kV-low

R - %

X - %

Substation

5,000

115 - D

4.16 Gr-W

1

8

XFM - 1

150

4.16 - D

.480 - D

1.27

2.72

[image: image79.wmf]Underground Line Configuration (Config.)

Config.

Phasing

Cable

Spacing ID

12

A B C

1/0 AA, CN

515

             1
  0
0
0             




B =       0         1          0          0    = U 

 0         0          1          0


 0         0          0          1

[image: image80.wmf]89

90

225

10

89

91

225

6

91

92

300

11

91

93

225

6

93

94

275

9

93

95

300

6

95

96

200

10

97

98

275

3

98

99

550

3

99

100

300

3

100

450

800

3

101

102

225

11

101

105

275

3

102

103

325

11

103

104

700

11

105

106

225

10

105

108

325

3

106

107

575

10

108

109

450

9

108

300

1000

3

109

110

300

9

110

111

575

9

110

112

125

9

112

113

525

9

113

114

325

9

135

35

375

4

149

1

400

1

152

52

400

1

160

67

350

6

197

101

250

3

[image: image81.wmf]Spot Loads

Node

Load

Ph-1

Ph-1

Ph-2

Ph-2

Ph-3

Ph-4

Model

kW

kVAr

kW

kVAr

kW

kVAr

1

Y-PQ

40

20

0

0

0

0

2

Y-PQ

0

0

20

10

0

0

4

Y-PQ

0

0

0

0

40

20

5

Y-I

0

0

0

0

20

10

6

Y-Z

0

0

0

0

40

20

7

Y-PQ

20

10

0

0

0

0

9

Y-PQ

40

20

0

0

0

0

10

Y-I

20

10

0

0

0

0

11

Y-Z

40

20

0

0

0

0

12

Y-PQ

0

0

20

10

0

0

16

Y-PQ

0

0

0

0

40

20

17

Y-PQ

0

0

0

0

20

10

19

Y-PQ

40

20

0

0

0

0

20

Y-I

40

20

0

0

0

0

22

Y-Z

0

0

40

20

0

0

24

Y-PQ

0

0

0

0

40

20

28

Y-I

40

20

0

0

0

0

29

Y-Z

40

20

0

0

0

0

30

Y-PQ

0

0

0

0

40

20

31

Y-PQ

0

0

0

0

20

10

32

Y-PQ

0

0

0

0

20

10

33

Y-I

40

20

0

0

0

0

34

Y-Z

0

0

0

0

40

20

35

D-PQ

40

20

0

0

0

0

37

Y-Z

40

20

0

0

0

0

38

Y-I

0

0

20

10

0

0

39

Y-PQ

0

0

20

10

0

0

41

Y-PQ

0

0

0

0

20

10

42

Y-PQ

20

10

0

0

0

0

43

Y-Z

0

0

40

20

0

0

45

Y-I

20

10

0

0

0

0

46

Y-PQ

20

10

0

0

0

0

47

Y-I

35

25

35

25

35

25

48

Y-Z

70

50

70

50

70

50

49

Y-PQ

35

25

70

50

35

25

50

Y-PQ

0

0

0

0

40

20

51

Y-PQ

20

10

0

0

0

0

52

Y-PQ

40

20

0

0

0

0

53

Y-PQ

40

20

0

0

0

0

55

Y-Z

20

10

0

0

0

0

56

Y-PQ

0

0

20

10

0

0

    
 1

0
0
0




C =       0         1          0          0    = U 



 0         0          1          0


 0         0          0          1

[image: image82.wmf]58

Y-I

0

0

20

10

0

0

59

Y-PQ

0

0

20

10

0

0

60

Y-PQ

20

10

0

0

0

0

62

Y-Z

0

0

0

0

40

20

63

Y-PQ

40

20

0

0

0

0

64

Y-I

0

0

75

35

0

0

65

D-Z

35

25

35

25

70

50

66

Y-PQ

0

0

0

0

75

35

68

Y-PQ

20

10

0

0

0

0

69

Y-PQ

40

20

0

0

0

0

70

Y-PQ

20

10

0

0

0

0

71

Y-PQ

40

20

0

0

0

0

73

Y-PQ

0

0

0

0

40

20

74

Y-Z

0

0

0

0

40

20

75

Y-PQ

0

0

0

0

40

20

76

D-I

105

80

70

50

70

50

77

Y-PQ

0

0

40

20

0

0

79

Y-Z

40

20

0

0

0

0

80

Y-PQ

0

0

40

20

0

0

82

Y-PQ

40

20

0

0

0

0

83

Y-PQ

0

0

0

0

20

10

84

Y-PQ

0

0

0

0

20

10

85

Y-PQ

0

0

0

0

40

20

86

Y-PQ

0

0

20

10

0

0

87

Y-PQ

0

0

40

20

0

0

88

Y-PQ

40

20

0

0

0

0

90

Y-I

0

0

40

20

0

0

92

Y-PQ

0

0

0

0

40

20

94

Y-PQ

40

20

0

0

0

0

95

Y-PQ

0

0

20

10

0

0

96

Y-PQ

0

0

20

10

0

0

98

Y-PQ

40

20

0

0

0

0

99

Y-PQ

0

0

40

20

0

0

100

Y-Z

0

0

0

0

40

20

102

Y-PQ

0

0

0

0

20

10

103

Y-PQ

0

0

0

0

40

20

104

Y-PQ

0

0

0

0

40

20

106

Y-PQ

0

0

40

20

0

0

107

Y-PQ

0

0

40

20

0

0

109

Y-PQ

40

20

0

0

0

0

111

Y-PQ

20

10

0

0

0

0

112

Y-I

20

10

0

0

0

0

113

Y-Z

40

20

0

0

0

0

114

Y-PQ

20

10

0

0

0

0

Total

1420

775

915

515

1155

635

[image: image83.wmf]2

111213

2

122223

2

132333

1000

0

0100

0

0010

0

0001

0000

AAEa

TTT

BBEb

TTT

CCEc

TTT

NNEn

IVI

YYYYYYYYY

IVI

YYYYYYYYY

IVI

YYYYYYYYY

IVI

éù

éù---éùéù

éù

êú

êúêúêú

êú

---

êú

êúêúêú

êú

=+

êú

êúêúêú

êú

---

êú

êúêúêú

êú

ëû

ëûëûëû

ëû


0          0          0          0

D =
0          0          0          0    = 0

    
0          0          0          0


0          0          0          0

(B). Phase to phase connection:

[image: image5.png]=
)

hal

b

V2

Earth Earth

Fig22 Shunt cspacitors [ phase to phase)




(i)   Sending-end Currents:

IA = Y1 (VAE – VBE) + Y3 (VAE – VCE)+ Ia
    =  (Y1 + Y3) VAE – Y1VBE – Y3 VCE + Ia
IB = Y2 (VBE –VCE) + Y1(VBE – VAE) + Ib
    = −Y1 VAE + (Y1 + Y2) VBE − Y2 VCE + Ib
IC =  Y3 (VCE – VAE) + Y2 (VCE – VBE) + Ic
    = −Y3 VAE – Y2 VBE + (Y2 + Y3) VCE +  Ic
Hence,


[image: image6.wmf]ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

+

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

+

-

-

-

+

-

-

-

+

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

n

c

b

a

NE

CE

BE

AE

N

C

B

A

I

I

I

I

V

V

V

V

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

I

I

I

I

1

0

0

0

0

1

0

0

0

0

1

0

0

0

0

1

0

0

0

0

0

0

0

3

2

2

3

2

2

1

1

3

1

1

3

                 2.4
(ii)  Receiving-end Voltages:

Vae = VAE
Vbe = VBE
Vce = VCE
Vne = VNE
Hence,


[image: image7.wmf]ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

+

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

n

c

b

a

NE

CE

BE

AE

ne

ce

be

ae

I

I

I

I

V

V

V

V

V

V

V

V

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

1

0

0

0

0

1

0

0

0

0

1

0

0

0

0

1

                                           2.5
Comparing equations (2.4) and (2.5) with equation (2.1)
[image: image84.wmf]1

3

4

5

6

2

7

8

12

11

14

10

20

19

22

21

18

35

37

40

135

33

32

31

27

26

25

28

29

30

250

48

47

49

50

51

44

45

46

42

43

41

36

38

39

66

65

64

63

62

60

160

67

57

58

59

54

53

52

55

56

13

34

15

16

17

96

95

94

93

152

92

90

88

91

89

87

86

80

81

82

83

84

78

85

72

73

74

75

77

79

300

111

110

108

109

107

112

113

114

105

106

101

102

103

104

450

100

97

99

68

69

70

71

197

151

150

61

610

 

9

24

23

251

195

451

149

350

76

98

76

[image: image85.wmf]89

90

225

10

89

91

225

6

91

92

300

11

91

93

225

6

93

94

275

9

93

95

300

6

95

96

200

10

97

98

275

3

98

99

550

3

99

100

300

3

100

450

800

3

101

102

225

11

101

105

275

3

102

103

325

11

103

104

700

11

105

106

225

10

105

108

325

3

106

107

575

10

108

109

450

9

108

300

1000

3

109

110

300

9

110

111

575

9

110

112

125

9

112

113

525

9

113

114

325

9

135

35

375

4

149

1

400

1

152

52

400

1

160

67

350

6

197

101

250

3



      Y1+ Y3
  −Y1
           −Y3

0

     A =
       − Y1
Y1 + Y2          −Y2

0


       −Y3
  −Y2
        Y2+ Y3 
            0


         0           
     0

 0

0

    B = U 

   C = U

    D = 0
(C) Ungrounded Wye Connection:

[image: image8.png]{t—

1

Earth Earth

Fig23 Shunt capacitors [ungrounded wre)




(i)  Sending-end Currents:

Let the ungrounded star point be x.

IA  = Y1 VAx + Ia
= Y1 VAE – Y1 VxE + Ia
IB = Y2 VBE – Y2 VxE + Ib
IC = Y3 VCE – Y3 VxE + Ic
IN = In
Also, Y1 VAx + Y2 VBx + Y3 VCx = 0

Y1 (VAE −VxE) + Y2 (VBE – VxE) + Y3 (VCE – VxE) = 0

 
[image: image9.wmf]3

2

1

3

2

1

Y

Y

Y

V

Y

V

Y

V

Y

V

CE

BE

AE

xE

+

+

+

+

=



[image: image10.wmf]a

CE

T

BE

T

AE

T

A

I

V

Y

Y

Y

V

Y

Y

Y

V

Y

Y

Y

I

+

-

-

÷

÷

ø

ö

ç

ç

è

æ

-

=

3

1

2

1

2

1

1



[image: image11.wmf]b

CE

T

BE

T

AE

T

B

I

V

Y

Y

Y

V

Y

Y

Y

V

Y

Y

Y

I

+

-

÷

÷

ø

ö

ç

ç

è

æ

-

+

-

=

3

2

2

2

2

2

1



[image: image12.wmf]c

CE

T

BE

T

AE

T

C

I

V

Y

Y

Y

V

Y

Y

Y

V

Y

Y

Y

I

+

÷

÷

ø

ö

ç

ç

è

æ

-

+

-

-

=

2

3

3

3

2

3

1


where YT = Y1 + Y2 + Y3
Hence,
                     2.6            [image: image86.wmf]Overhead Line Configurations (Config.)

Config.

Phasing

Phase Cond. 

Neutral Cond. 

Spacing

ACSR

ACSR

ID

1

A B C N

336,400 26/7

4/0 6/1

500

2

C A B N

336,400 26/7

4/0 6/1

500

3

B C A N

336,400 26/7

4/0 6/1

500

4

C B A N

336,400 26/7

4/0 6/1

500

5

B A C N

336,400 26/7

4/0 6/1

500

6

A C B N

336,400 26/7

4/0 6/1

500

7

A C N

336,400 26/7

4/0 6/1

505

8

A B N

336,400 26/7

4/0 6/1

505

9

A N

1/0

1/0

510

10

B N 

1/0

1/0

510

11

C N

1/0

1/0

510


(ii)  Receiving-end Voltages:

Vae = VAE
Vbe = VBE
Vce = VCE
Vne = VNE
Hence,


[image: image13.wmf]ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

+

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

n

c

b

a

NE

CE

BE

AE

ne

ce

be

ae

I

I

I

I

V

V

V

V

V

V

V

V

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

1

0

0

0

0

1

0

0

0

0

1

0

0

0

0

1

                                                  2.7

Comparing equations (2.6) and (2.7) with equation (2.1)

[image: image87.wmf]Underground Line Configuration (Config.)

Config.

Phasing

Cable

Spacing ID

12

A B C

1/0 AA, CN

515

[image: image88.wmf]Transformer Data

kVA

kV-high

kV-low

R - %

X - %

Substation

5,000

115 - D

4.16 Gr-W

1

8

XFM - 1

150

4.16 - D

.480 - D

1.27

2.72


         Y1− ( Y1* Y1)/ YT
−Y1*Y2/ YT
   
    − Y1* Y3/ YT
   0

A=   − Y1* Y2/ YT

  Y2− ( Y2* Y2)/ YT
    − Y2* Y3/ YT
   0

        − Y1* Y3/ YT 

 − Y2* Y3/ YT

      Y3− ( Y3* Y3)/ YT     0


                0              


0


0

   0

B = U

C = U

D = 0

2.3.2 Shunt Reactors

Z1 = R1 + j ω L1 ; 
Y1 = 1/Z1
Z2 = R2 + j ω L2 ; 
Y2 = 1/Z2
Z3 = R3 + j ω L3 ; 
Y3 = 1/Z3

Where,

ω= 2Π f  
Rx and Lx are per phase shunt resistance and inductance and f is system frequency.
x= 1, 2, 3.
(A)  Phase to neutral connection:

[image: image14.png]R

R2
L1

Lz
R3

l L3

Earth Earth

Fig2.4 Shunt reactors (phase to neutral)




(i)  Sending-end Currents:

IA = Y1 VAE – Y1 VNE + Ia
IB = Y2 VBE – Y2 VNE + Ib
IC = Y3 VCE – Y3 VNE + Ic
IN = − Y1 (VAE – VNE) −Y2 (VBE −VNE) −Y3 (VCE −VNE)+ In
    = − Y1 VAE – Y2 VBE −Y3 VCE + (Y1 + Y2 + Y3) VNE + In
Hence,


[image: image15.wmf]ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

+

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

+

+

-

-

-

-

-

-

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

n

c

b

a

NE

CE

BE

AE

N

C

B

A

I

I

I

I

V

V

V

V

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

I

I

I

I

1

0

0

0

0

1

0

0

0

0

1

0

0

0

0

1

)

(

0

0

0

0

0

0

3

2

1

3

2

1

3

3

2

2

1

1

                 2.8

(ii)  Receiving-end Voltages:

Vae = VAE
Vbe = VBE
Vce = VCE
Vne = VNE
Hence,


[image: image16.wmf]ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

+

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

n

c

b

a

NE

CE

BE

AE

ne

ce

be

ae

I

I

I

I

V

V

V

V

V

V

V

V

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

1

0

0

0

0

1

0

0

0

0

1

0

0

0

0

1

                                                2.9

Comparing equations (2.8) and (2.9) with equation (2.1)

[image: image89.wmf]Shunt Capacitors

Node

Ph-A

Ph-B

Ph-C

kVAr

kVAr

kVAr

83

200

200

200

88

50

90

50

92

50

Total

250

250

250

[image: image90.wmf]Three Phase Switches

Node A

Node B

Normal

13

152

closed

18

135

closed

60

160

closed

61

610

closed

97

197

closed

150

149

closed

250

251

open

450

451

open

54

94

open

151

300

open

300

350

open


            Y1        0         0             −Y1
 A =      0        Y2        0             −Y2 

             0         0        Y3            −Y3
          −Y1      −Y2      −Y3     Y1+ Y2+ Y3 

[image: image91.wmf]Spot Loads

Node

Load

Ph-1

Ph-1

Ph-2

Ph-2

Ph-3

Ph-4

Model

kW

kVAr

kW

kVAr

kW

kVAr

1

Y-PQ

40

20

0

0

0

0

2

Y-PQ

0

0

20

10

0

0

4

Y-PQ

0

0

0

0

40

20

5

Y-I

0

0

0

0

20

10

6

Y-Z

0

0

0

0

40

20

7

Y-PQ

20

10

0

0

0

0

9

Y-PQ

40

20

0

0

0

0

10

Y-I

20

10

0

0

0

0

11

Y-Z

40

20

0

0

0

0

12

Y-PQ

0

0

20

10

0

0

16

Y-PQ

0

0

0

0

40

20

17

Y-PQ

0

0

0

0

20

10

19

Y-PQ

40

20

0

0

0

0

20

Y-I

40

20

0

0

0

0

22

Y-Z

0

0

40

20

0

0

24

Y-PQ

0

0

0

0

40

20

28

Y-I

40

20

0

0

0

0

29

Y-Z

40

20

0

0

0

0

30

Y-PQ

0

0

0

0

40

20

31

Y-PQ

0

0

0

0

20

10

32

Y-PQ

0

0

0

0

20

10

33

Y-I

40

20

0

0

0

0

34

Y-Z

0

0

0

0

40

20

35

D-PQ

40

20

0

0

0

0

37

Y-Z

40

20

0

0

0

0

38

Y-I

0

0

20

10

0

0

39

Y-PQ

0

0

20

10

0

0

41

Y-PQ

0

0

0

0

20

10

42

Y-PQ

20

10

0

0

0

0

43

Y-Z

0

0

40

20

0

0

45

Y-I

20

10

0

0

0

0

46

Y-PQ

20

10

0

0

0

0

47

Y-I

35

25

35

25

35

25

48

Y-Z

70

50

70

50

70

50

49

Y-PQ

35

25

70

50

35

25

50

Y-PQ

0

0

0

0

40

20

51

Y-PQ

20

10

0

0

0

0

52

Y-PQ

40

20

0

0

0

0

53

Y-PQ

40

20

0

0

0

0

55

Y-Z

20

10

0

0

0

0

56

Y-PQ

0

0

20

10

0

0

[image: image92.wmf]58

Y-I

0

0

20

10

0

0

59

Y-PQ

0

0

20

10

0

0

60

Y-PQ

20

10

0

0

0

0

62

Y-Z

0

0

0

0

40

20

63

Y-PQ

40

20

0

0

0

0

64

Y-I

0

0

75

35

0

0

65

D-Z

35

25

35

25

70

50

66

Y-PQ

0

0

0

0

75

35

68

Y-PQ

20

10

0

0

0

0

69

Y-PQ

40

20

0

0

0

0

70

Y-PQ

20

10

0

0

0

0

71

Y-PQ

40

20

0

0

0

0

73

Y-PQ

0

0

0

0

40

20

74

Y-Z

0

0

0

0

40

20

75

Y-PQ

0

0

0

0

40

20

76

D-I

105

80

70

50

70

50

77

Y-PQ

0

0

40

20

0

0

79

Y-Z

40

20

0

0

0

0

80

Y-PQ

0

0

40

20

0

0

82

Y-PQ

40

20

0

0

0

0

83

Y-PQ

0

0

0

0

20

10

84

Y-PQ

0

0

0

0

20

10

85

Y-PQ

0

0

0

0

40

20

86

Y-PQ

0

0

20

10

0

0

87

Y-PQ

0

0

40

20

0

0

88

Y-PQ

40

20

0

0

0

0

90

Y-I

0

0

40

20

0

0

92

Y-PQ

0

0

0

0

40

20

94

Y-PQ

40

20

0

0

0

0

95

Y-PQ

0

0

20

10

0

0

96

Y-PQ

0

0

20

10

0

0

98

Y-PQ

40

20

0

0

0

0

99

Y-PQ

0

0

40

20

0

0

100

Y-Z

0

0

0

0

40

20

102

Y-PQ

0

0

0

0

20

10

103

Y-PQ

0

0

0

0

40

20

104

Y-PQ

0

0

0

0

40

20

106

Y-PQ

0

0

40

20

0

0

107

Y-PQ

0

0

40

20

0

0

109

Y-PQ

40

20

0

0

0

0

111

Y-PQ

20

10

0

0

0

0

112

Y-I

20

10

0

0

0

0

113

Y-Z

40

20

0

0

0

0

114

Y-PQ

20

10

0

0

0

0

Total

1420

775

915

515

1155

635

             1
  0
0
0             




B =       0         1          0          0    = U 

 0         0          1          0

             0          0          0         1 

[image: image93.wmf]Regulator Data

Regulator ID: 

1

Line Segment: 

150 - 149

Location:

150

Phases:

 A-B-C

Connection:

3-Ph, Wye

Monitoring Phase:

A

Bandwidth:

2.0 volts

PT Ratio:

20

Primary CT Rating:

700

Compensator:

Ph-A

R - Setting:

3

X - Setting:

7.5

Voltage Level:

120

Regulator ID: 

2

Line Segment: 

 9 - 14

Location:

9

Phases:

A

Connection:

1-Ph, L-G

Monitoring Phase:

 A

Bandwidth:

2.0 volts

PT Ratio:

20

Primary CT Rating:

50

Compensator:

Ph-A

R - Setting:

0.4

X - Setting:

0.4

Voltage Level:

120

[image: image94.wmf]Regulator ID: 

3

Line Segment: 

25 - 26

Location:

25

Phases:

A-C

Connection:

2-Ph,L-G

Monitoring Phase:

A & C

Bandwidth:

1

PT Ratio:

20

Primary CT Rating:

50

Compenator:

Ph-A

Ph-C

R - Setting:

0.4

0.4

X - Setting:

0.4

0.4

Voltage Level:

120

120

Regulator ID: 

4

Line Segment: 

160 - 67

Location:

160

Phases:

A-B-C

Connection:

3-Ph, LG

Monitoring Phase:

A-B-C

Bandwidth:

2

PT Ratio:

20

Primary CT Rating:

300

Compensator:

Ph-A

Ph-B

Ph-C

R - Setting:

0.6

1.4

0.2

X - Setting:

1.3

2.6

1.4

Voltage Level:

124

124

124


 1

0
0
0




C =       0         1          0          0    = U



 0         0          1          0


 0         0          0          1

[image: image95.wmf]Line Segment Data

Node A

Node B

Length (ft.)

Config.

1

2

175

10

1

3

250

11

1

7

300

1

3

4

200

11

3

5

325

11

5

6

250

11

7

8

200

1

8

12

225

10

8

9

225

9

8

13

300

1

9

14

425

9

13

34

150

11

13

18

825

2

14

11

250

9

14

10

250

9

15

16

375

11

15

17

350

11

18

19

250

9

18

21

300

2

19

20

325

9

21

22

525

10

21

23

250

2

23

24

550

11

23

25

275

2

25

26

350

7

25

28

200

2

26

27

275

7

26

31

225

11

27

33

500

9

28

29

300

2

29

30

350

2

30

250

200

2

31

32

300

11

34

15

100

11

35

36

650

8

35

40

250

1

36

37

300

9

36

38

250

10

38

39

325

10

40

41

325

11

40

42

250

1

42

43

500

10


0          0          0          0

D =
0          0          0          0    = 0    


            0          0          0          0


0          0          0          0
(B). Phase to phase connection:

[image: image17.png]R1 L3
L1

R2 |

Earth Earth

Fig2.5 Shunt reactors [phase to phase)



   

(i)   Sending-end Currents:

IA = Y1 (VAE – VBE) + Y3 (VAE – VCE)+ Ia
    =  (Y1 + Y3) VAE – Y1VBE – Y3 VCE + Ia
IB = Y2 (VBE –VCE) + Y1(VBE – VAE) + Ib
    = −Y1 VAE + (Y1 + Y2) VBE −Y2 VCE + Ib
IC =  Y3 (VCE – VAE) + Y2 (VCE – VBE) + Ic
    = −Y3 VAE – Y2 VBE + (Y2 + Y3) VCE +  Ic
Hence,


[image: image18.wmf]ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

+

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

+

-

-

-

+

-

-

-

+

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

n

c

b

a

NE

CE

BE

AE

N

C

B

A

I

I

I

I

V

V

V

V

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

I

I

I

I

1

0

0

0

0

1

0

0

0

0

1

0

0

0

0

1

0

0

0

0

0

0

0

3

2

2

3

2

2

1

1

3

1

1

3

                  2.10
(ii)  Receiving-end Voltages:

Vae = VAE
Vbe = VBE
Vce = VCE
Vne = VNE
Hence,


[image: image19.wmf]ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

+

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

n

c

b

a

NE

CE

BE

AE

ne

ce

be

ae

I

I

I

I

V

V

V

V

V

V

V

V

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

1

0

0

0

0

1

0

0

0

0

1

0

0

0

0

1

                                         2.11
Comparing equations (2.10) and (2.11) with equation (2.1)


       Y1+ Y3
   −Y1
              −Y3

0

     A =
         −Y1
 Y1+ Y2             −Y2

0


         −Y3              −Y2

Y2+ Y3            0


           0                0

    0

0

    B = U 

    C = U

    D = 0

(C) Ungrounded Wye Connection:

[image: image20.png]L1

Lz

R3

L3

o

Earth

Earth

Fig2.6 Shunt reactors [ungroundsd we)





(i)  Sending-end Currents:

Let the ungrounded star point be x.

IA  = Y1 VAx + Ia
= Y1 VAE – Y1 VxE + Ia
IB = Y2 VBE – Y2 VxE + Ib
IC = Y3 VCE – Y3 VxE + Ic
IN = In
Also, Y1 VAx + Y2 VBx + Y3 VCx = 0

Y1 (VAE −VxE) + Y2 (VBE – VxE) + Y3 (VCE – VxE) = 0

 
[image: image21.wmf]3

2

1

3

2

1

Y

Y

Y

V

Y

V

Y

V

Y

V

CE

BE

AE

xE

+

+

+

+

=



[image: image22.wmf]a

CE

T

BE

T

AE

T

A

I

V

Y

Y

Y

V

Y

Y

Y

V

Y

Y

Y

I

+

-

-

÷

÷

ø

ö

ç

ç

è

æ

-

=

3

1

2

1

2

1

1



[image: image23.wmf]b

CE

T

BE

T

AE

T

B

I

V

Y

Y

Y

V

Y

Y

Y

V

Y

Y

Y

I

+

-

÷

÷

ø

ö

ç

ç

è

æ

-

+

-

=

3

2

2

2

2

2

1



[image: image24.wmf]c

CE

T

BE

T

AE

T

C

I

V

Y

Y

Y

V

Y

Y

Y

V

Y

Y

Y

I

+

÷

÷

ø

ö

ç

ç

è

æ

-

+

-

-

=

2

3

3

3

2

3

1


where YT = Y1 + Y2 + Y3
Hence,


[image: image25.wmf]ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

+

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ê

ë

é

-

-

-

-

-

-

-

-

-

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

n

c

b

a

NE

CE

BE

AE

T

T

T

T

T

T

T

T

T

N

C

B

A

I

I

I

I

V

V

V

V

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

Y

I

I

I

I

1

0

0

0

0

1

0

0

0

0

1

0

0

0

0

1

0

0

0

0

0

0

0

2

3

3

3

2

3

1

3

2

2

2

2

2

1

3

1

2

1

2

1

1

  2.12

(ii)  Receiving-end Voltages:

Vae = VAE
Vbe = VBE
Vce = VCE
Vne = VNE
Hence,


[image: image26.wmf]ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

+

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

n

c

b

a

NE

CE

BE

AE

ne

ce

be

ae

I

I

I

I

V

V

V

V

V

V

V

V

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

1

0

0

0

0

1

0

0

0

0

1

0

0

0

0

1

                                                  2.13

Comparing equations (2.12) and (2.13) with equation (2.1)

        −Y3 ( Y1* Y1)/ YT 
        −Y1* Y2/ YT
          −Y1* Y3/ YT                    0

A=   −Y1* Y2/ YT

  Y2−Y3 ( Y2* Y2)/ YT
          −Y2* Y3/ YT
               0

        −Y1* Y3/ YT 

      −Y2* Y3/ YT
      Y3−Y3 ( Y3* Y3)/ YT            0


                0              


0


0

               0

B = U

C = U

D = 0

2.3.3. Branch 

(i)   Sending-end Currents:

[IS] = [Y] l [VS] + [Ir]

Hence, A = l [Y]

B = U 

(ii)  Receiving-end Voltages:

[Vr] = [Vs] – [Z] l [Ir]

Hence, C = U 
D = −l [Z]

Where,
[Z] and [Y] are 4(4 impedance and admittance matrices of the line per unit length 

 l is length of the branch.

A = l [Y]
B = U
C = U

D = −l [Z]

Note: For implementation purposes, in case of 3 wire systems, if on the load side of the branch there is a 3 phase transformer with its primary winding wye connected and neutral point grounded, the neutral voltage on the load side of the branch (Vne) is calculated separately. For this, a separate function is included that would calculate the correct value of Vne during voltage update (i.e., backward sweep) and overwrite the value of Vne calculated using A, B, C, D matrices with this correct value. 

Vne = ZN (Ia + Ib + Ic)

Where, ZN is the transformer primary neutral point grounding impedance and Ia, Ib, Ic are the line currents on the load side of the branch which are known during the backward sweep. If the neutral is not grounded then the neutral to earth voltage is simply equal to the vector sum of the three line to earth voltages.

2.3.4. Series reactor:                                          

[image: image27.wmf]ii

Z

-

 = Ri + j(Li                   
 
[image: image28.wmf]ij

Z

-

 = 0


 _

Hence, [Z] is formulated similar to that of a line.    

Using Kron’s reduction, [Z] is evaluated. 

[Y] = 0
Finally, A, B, C, D matrices for series reactor are evaluated similar to that of a branch.

Implementation detail: For ease of implementation, 
[image: image29.wmf]ii

Z

-

, 
[image: image30.wmf]ij

Z

-

, [Z], [Y] are all assumed to be per unit length and while calculating the A,B,C,D matrices l is taken to be 1 unit.

2.3.5. Distribution line


Zii                                                                     ith conductor



      

Zij     


Cij



                                                                                              jth conductor











Cie





  [image: image31.wmf]
earth

                                              Fig 2.7 Distribution line model
Series impedance and shunt admittance matrices of distribution lines 

Expressions for self and mutual impedance (for conductor lines and single core cable lines) and potential coefficients (in case of conductor lines only) :


[image: image32.wmf]ii

Z

-

 = Ri + 0.00098696f + j0.00125664f [−ln (GM Ri) + 6.4905 + 0.5ln ((/f)] (/km


[image: image33.wmf]ij

Z

-

 = 0.00098696f + j0.00125664f [−ln (Dij) + 6.4905 + 0.5ln ((/f)] (/km


[image: image34.wmf]ii

P

-

 = 17.98746 ln (Sii /RDi ) km/(F


[image: image35.wmf]ij

P

-

 = 17.98746 ln (Sij / Dij) km/(F

Where  


[image: image36.wmf]ii

Z

-

: Self-impedance of ith conductor per unit length ((/km)


[image: image37.wmf]ij

Z

-

: Mutual impedance between conductors i and j per unit length ((/km)  


[image: image38.wmf]ii

P

-

: Self-potential coefficient of ith conductor per unit length (km/(F)


[image: image39.wmf]ij

P

-

: Mutual potential coefficient between ith and jth conductor (km/(F)

Sii: distance (m) from conductor i to its image = 2 x height of ith conductor above 

       ground (m) = 2 x y coordinate (m) of the ith conductor, origin being on the surface    


 of the earth


Sij: distance from ith conductor to the image of jth conductor = ( {( xi – xj )2 + (yi + yj)2}

       where xi and xj are the x coordinates (m) of the ith and jth conductors and yi and           

       yj are the y coordinates (m) of the ith and jth conductor, origin being on the surface  

       of the earth  

f : frequency (Hz)

Ri: resistance of the ith conductor ((/km)

( : resistivity of earth((-m)

GMRi : Geometric mean radius of ith conductor (m)

RDi: radius of ith conductor (m)

Dij: distance between conductors i and j (m) = ( {( xi − xj)2 + (yi – yj)2}

GMR calculations:-
GMR = 0.5×D×Kg

D = overall conductor diameter (m)

Kg = layer factor

Table containing values of Kg for ACSR conductors for 4 common stranding arrangements: 

ACSR


Kg
6/1


0.7160    

30/7


0.8250

54/7


0.8099

Table containing values of Kg for AAC conductors for 4 common stranding arrangements: 

AAC


Kg
7


0.7256 

19


0.7577

37


0.7678

61


0.7722

The distances (GMRi and Dij) necessary for calculating self and mutual impedance and admittance of lines are summarized as follows:

A. Conductor lines :

1. GMR of each conductor (phase, neutral and ground) 

2. Dij for each pair of conductors where Dij = center to center distance between the two conductors.

B. Concentric neutral Cable lines :

1. GMR of each phase conductor and external neutral conductor (if any).

2. GMR of each concentric neutral = [GMRs ×k × Rk−1]1/ k    
Where 

GMRs = GMR of one neutral strand

R = 0.5× (total diameter of the cable – diameter of one neutral strand)

k = no. of neutral strands per cable


      3.   Dij (i, j: phase conductors or external neutral) = distance between centers  



of the corresponding conductors                                                


      4.   Dij (i, j: concentric neutral) = distance between centers  



of the corresponding conductors  


      5.   Dij (i, j
: phase conductor and corresponding concentric neutral) = R


      6.   Dij (i, j: phase conductor of one cable and concentric neutral of another  



cable) = [Dnmk −Rk] 1/ k   where Dnm = distance between centers of the



phase conductors of the respective cables                           


C. Tape shielded cables :

1. GMR of each phase conductor and neutral conductor (if any).

2. GMR (tape shield) = 0.5× (outside diameter of tape shield – thickness of the tape shield)

                  3.   Dij (i, j: phase conductors or neutral) = distance between centers of the   
 corresponding conductors  

      4.    Dij (i, j: tape shield) = distance between centers of the corresponding               

conductors


      5.   Dij (i, j
: phase conductor and corresponding tape shield) = GMR of the  


shield

                  6.   Dij (i, j: phase conductor of one cable and tape shield of another cable) =   



distance between centers of the phase conductors of the respective cables

Formulation of impedance matrix [Z] (for conductor lines and single core cable lines) from primitive impedance matrix [Z]
                    
[image: image40.wmf][][]

[]

[][]

ijin

njnn

ZZ

Z

ZZ

--

-

--

æö

ç÷

=

ç÷

ç÷

èø


Kron’s reduction: 
[image: image41.wmf]1

[][][][][]

ijinnnnj

ZZZZZ

----

-

=-


Where 

n: set of multi-grounded conductors   

i, j: set of phase conductors and conductor(s) that is (are) not multi-grounded  

Formulation of admittance matrix [Y] (for conductor lines only) from primitive potential coefficient matrix [P]
         



[image: image42.wmf][][]

[]

[][]

ijin

njnn

PP

P

PP

--

-

--

æö

ç÷

=

ç÷

ç÷

èø


Kron’s reduction: 
[image: image43.wmf]1

[][][][][]

ijinnnnj

PPPPP

----

-

=-


         [C] = [P]−1
         [Y] = j( [C] 

where 

n : set of multi-grounded conductors 

i,j : set of phase conductors and conductor(s) that is (are) not multi-grounded  


Calculation of shunt admittance of single core cable lines [Ref 14]:

1. Concentric: Ypg = j 40.0587 / [ln (Rb /RDc) – (1/k) ln (k× RDs/ Rb)]

where Ypg = shunt admittance between one phase and earth (μS/km)


Rb = 0.5 × (overall diameter – diameter of one neutral strand)


k = no. of neutral strands per cable


RDc = radius of phase conductor


RDs = radius of one neutral strand

2. Tape shielded cable: Ypg = j 40.0587 / [ln (Rb / RDc)] μS/km

In both cases, (Yii = 0 for single core cable)

Note: Calculation of impedance and admittance of 3 phase 3 core, 31/2 core and 4 core cables is done using the sequence impedance and admittance values as follows:


Zs = 1/3 (Z 0 + 2Z +)
Zm =1/3 (Z 0 −Z +)

where Zs = self impedance and Zm = mutual impedance 

Ys = 1/3 (Y 0 + 2Y +)
Ym =1/3 (Y 0 −Y +)

Where Ys = self admittance and Ym = mutual admittance
2.3.6. Single phase transformer
(A)   Phase to phase (between phases A and B):
(i) Sending-end Currents:

IA = Y (VAE – VBE) + Ia/nt
IB = −IA = −Y VAE + YVBE −Ia/ nt
IC = IN = 0

Hence,


[image: image44.wmf]001000

001/000

00000000

00000000

AAEa

t

BBEb

t

CCEc

NNEn

IVI

YYn

IVI

YYn

IVI

IVI

-

éùéùéù

éùéù

êúêúêú

êúêú

--

êúêúêú

êúêú

=+

êúêúêú

êúêú

êúêúêú

êúêú

ëûëû

ëûëûëû

                            2.14
(ii) Receiving-end Voltages:

Vae = Van + Vne
= Van (assuming solidly grounded secondary neutral)

= 
[image: image45.wmf]1

ABaa

t

VZtI

n

-


= 
[image: image46.wmf]11

AEBEaa

tt

VVZtI

nn

--


Vne = 0

Vbe = 0

Vce = 0

Where Y = Shunt branch admittance referred to primary side.

Zta = Series impedance of transformer referred to secondary side.

nt = turns ratio
Hence,


[image: image47.wmf]11

00

000

0000

0000

0000

0000

0000

0000

aeAEa

ta

tt

beBEb

ceCEc

neNEn

VVI

Z

nn

VVI

VVI

VVI

-

éù

-

éùéùéù

éù

êú

êúêúêú

êú

êú

êúêúêú

êú

êú

=+

êúêúêú

êú

êú

êúêúêú

êú

êú

ëû

ëûëûëû

êú

ëû

                                2.15

Comparing equations (2.14) and (2.15) with equation (2.1)

Y         −Y          0          0

A   =   −Y          Y          0          0     
     
 0           0          0          0


 0           0          0          0
1/ nt        0          0          0

B =     −1/ nt       0          0          0     
    
    0          0          0          0


    0          0          0          0


1/ nt      −1/ nt      0          0

C =          0          0          0          0     
    
    0          0          0          0


    0          0          0          0


 −Zta       0          0          0

D =          0         0          0          0     
    
    0          0          0          0


    0          0          0          0

(B) Phase to neutral (between phase A and neural N):
(i) Sending-end Currents:

IA = Y (VAE – VNE) + Ia/nt
IB = 0

IC = 0

IN = −IA = −Y VAE + Y VNE – Ia/nt
Hence,


[image: image48.wmf]1/000

00

0000

0000

0000

0000

1/000

00

AAEta

BBEb

CCEc

NNEtn

IVnI

YY

IVI

IVI

IVnI

YY

-

éùéùéùéù

éù

êúêúêúêú

êú

êúêúêúêú

êú

=+

êúêúêúêú

êú

êúêúêúêú

êú

-

-

ëû

ëûëûëûëû

                               2.16

(ii) Receiving-end Voltages:

Vne = 0 
(assuming the secondary neutral to be solidly grounded)

Vae = Van

[image: image49.wmf]a

a

t

AN

I

Zt

n

V

-

=



[image: image50.wmf]a

a

NE

AE

t

I

Zt

V

nt

V

n

-

-

=

1

1


Vbe = Vce = 0 

where Y = Shunt branch admittance referred to primary side.

Zta = Series impedance of transformer referred to

secondary side.

nt = winding ratio.
Hence,


[image: image51.wmf]ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

-

+

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

ú

ú

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ê

ê

ë

é

-

=

ú

ú

ú

ú

û

ù

ê

ê

ê

ê

ë

é

n

c

b

a

ta

NE

CE

BE

AE

t

t

ne

ce

be

ae

I

I

I

I

Z

V

V

V

V

n

n

V

V

V

V

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

1

0

0

1

                          2.17
Comparing equations (2.16) and (2.17) with equation (2.1)
   Y         0          0         −Y

A =          0         0          0          0     
    
    0          0          0          0


  −Y          0          0         Y

1/ nt       0          0          0

B =         0         0          0          0     
    
   0         0          0          0

−1/ nt     0          0          0

  1/ nt        0          0       −1/ nt
C =          0          0          0          0     
    
    0          0          0          0


    0          0          0          0

 −Zta        0          0          0

D =          0          0          0          0     
    
    0          0          0          0


    0          0          0          0

2.3.7. Three phase transformer:

(A) Delta−Star (gnd) :

                                  [image: image52.png]N

=

Tta

Tth

n

Tic

Fig 2.8 delta- star grounded connection

Zn

earth




(i)  Sending-endcurrents:

IA = Y3 (VAE – VCE) + Y1 (VBE – VAE)+ (Ia −Ib  )/ nt
    =  (Y1 + Y3) VAE – Y1VBE – Y3 VCE + Ia / nt −  Ib / nt
IB = Y1 (VBE –VAE) + Y2(VCE – VBE) + (Ib – Ic  )/ nt
    = −Y1 VAE + (Y1 + Y2) VBE −Y2 VCE + Ib / nt −  Ic / nt
IC =  Y2 (VCE – VBE) + Y3 (VAE – VCE) + (Ic – Ia  )/ nt
    = −Y3 VAE – Y2 VBE + (Y2 + Y3) VCE + Ic / nt −  Ia / nt
IN=0
Hence,


[image: image53.wmf]3113

1122

3223

01100

00110

1/

01010

00000000

AAEa

BBEb

t

CCEc

NNEn

IVI

YYYY

IVI

YYYY

n

IVI

YYYY

IVI

+---

éùéùéù

éùéù

êúêúêú

êúêú

-+--

êúêúêú

êúêú

=+

êúêúêú

êúêú

--+-

êúêúêú

êúêú

ëûëû

ëûëûëû

          2.18

(iii) Receiving−end voltages:

Vae = −Zta Ia + Vne+ (VAE – VCE  )/ nt
Vbe = −Ztb Ib + Vne+ (VBE – VAE  )/ nt
Vce = −Ztc Ic + Vne+ (VCE – VBE  )/ nt
Vne = −(Ia + Ib + Ic + In) Zn
Hence,


[image: image54.wmf]()

1010

()

1100

1/

()

0100

0000

aeAEtannnna

beBEntbnnnb

t

ceCEnntcnnc

neNEnnnnn

VVZZZZZI

VVZZZZZI

n

VVZZZZZI

VVZZZZI

-+---

-

éùéùéùéù

éù

êúêúêúêú

êú

--+--

-

êúêúêúêú

êú

=+

êúêúêúêú

êú

---+-

-

êúêúêúêú

êú

----

ëû

ëûëûëûëû

                                                                                                       _________________2.19

Comparing equations (2.18) and (2.19) with equation (2.1)


Y1+ Y3 
−Y1
      −Y3              0 

A = 
    −Y1
          Y1+ Y2
      −Y2
  0


    −Y1
            −Y2
    Y2+ Y3
  0


       0
               0
         0
              0


               1          −1          0          0

               0           1         −1          0


B=1/ nt   −1          0           1          0


    0
    0
     0
     0



    1
   0        −1          0



−1
1
0
0

C=1/ nt
  0       −1
1
0




  0
   0
   0          0


  − ( Zta + Zn)      
−Zn

−Zn

−Zn


D   =
       −Zn
        − ( Ztb + Zn)

−Zn

−Zn

       −Zn
               −Zn
− ( Ztc + Zn)
−Zn

       −Zn
               −Zn
   −Zn

−Zn
(B)  Star  (ungnd)−Star (gnd) :

[image: image55.png]B c
i}
et
e
n an zareh
Zea Zeh 2ec
e Tk

Fig2.9 Srar ungrounded - Star grounded comnection




 (i)  Sending−endcurrents :
IA = Y1 VAE  −Y1 VNE + Ia / nt
IB = Y2 VBE  −Y2VNE  + Ib / nt
IC =  Y2 VCE  −Y3 VNE  + Ic / nt
IN = − (IA + IB + IC)


[image: image56.wmf]123

123123

()

abc

ANBNCN

ttt

abc

AEBECENE

ttt

III

YVYVYV

nnn

III

YVYVYVYYYV

nnn

æöæöæö

=-+-+-+

ç÷ç÷ç÷

èøèøèø

=---+++---


Hence,


[image: image57.wmf]11

22

33

123123

00

1000

00

0100

1/

00

0010

1110

AAEa

BBEb

t

CCEc

NNEn

IYYVI

IYYVI

n

IYYVI

IYYYYYYVI

-

éùéùéùéù

éù

êúêúêúêú

êú

-

êúêúêúêú

êú

=+

êúêúêúêú

êú

-

êúêúêúêú

êú

---++

---

ëû

ëûëûëûëû

             2.20 
(ii) Receiving−endvoltages :

Vae = −Zta Ia + Vne+ (VAE – VNE  )/ nt
Vbe = −Ztb Ib + Vne+ (VBE – VNE  )/ nt
Vce = −Ztc Ic + Vne+ (VCE – VNE  )/ nt
Vne = −(Ia + Ib + Ic + In) Zn     
Hence,


[image: image58.wmf]()

1001

()

0101

1/

()

0011

0000

aeAEtannnna

beBEntbnnnb

t

ceCEnntcnnc

neNEnnnnn

VVZZZZZI

VVZZZZZI

n

VVZZZZZI

VVZZZZI

-+---

-

éùéùéùéù

éù

êúêúêúêú

êú

--+--

-

êúêúêúêú

êú

=+

êúêúêúêú

êú

---+-

-

êúêúêúêú

êú

----

ëû

ëûëûëûëû

                                                                                  

                                                                            _________________________2.21

Comparing equations (2.20) and (2.21) with equation (2.1)


 Y1
  0
  0
−Y1
A = 
  0
 Y2
  0
−Y2

  0
  0
 Y3
−Y3 

−Y1
−Y2
−Y3
Y1+ Y2+ Y3

  
  1
 0
 0
0

B=1/ nt
  0
       1
 0
0


  0
 0
 1
0


 −1
−1
−1
0



   1
  0
  0
−1

C=1/ nt    0
        1
  0
−1


   0
  0          1
−1


   0
  0
  0
 0



− ( Zta + Zn)      
−Zn

−Zn

−Zn


D   =
       −Zn
        − ( Ztb + Zn)

−Zn

−Zn

       −Zn
               −Zn
− ( Ztc + Zn)
−Zn

       −Zn
               −Zn
   −Zn

−Zn
(C) Star (gnd) – Star (gnd) :

[image: image59.png]a E C
il
m = earh
S
R
2n = earh
n
Zea 2uk -0
4 4
2 b3 c

Fig2.10 Star grounded - Star grounded conection




(i)  Sending−endcurrents :

IA = Y1 VAE  −Y1 VNE + Ia / nt
IB = Y2 VBE  −Y2VNE  + Ib / nt
IC =  Y2 VCE  −Y3 VNE  + Ic / nt
IN = VNE / ZN−(IA + IB + IC)
   
[image: image60.wmf]123

123123

/

(1/)

ab

NEN

ANBNCN

ttt

abc

N

AEBECENE

ttt

II

Ic

VZYVYVYV

nnn

III

YVYVYVYYYZV

nnn

æöæöæö

=-+-+-+

ç÷ç÷ç÷

èøèøèø

=---++++---


Hence,


[image: image61.wmf]11

22

33

123123

00

1000

00

0100

1/

00

0010

1/

1110

AAEa

BBEb

t

CCEc

NNNEn

IYYVI

IYYVI

n

IYYVI

IYYYYYYZVI

-

éùéùéùéù

éù

êúêúêúêú

êú

-

êúêúêúêú

êú

=+

êúêúêúêú

êú

-

êúêúêúêú

êú

---+++

---

ëû

ëûëûëûëû

                        






___________________________ 2.22

(ii) Receiving−endvoltages :                   

Vae = −Zta Ia + Vne+ (VAE – VNE  )/ nt
Vbe = −Ztb Ib + Vne+ (VBE – VNE  )/ nt
Vce = −Ztc Ic + Vne+ (VCE – VNE  )/ nt
Vne = − (Ia + Ib + Ic + In) Zn     
Hence, 


[image: image62.wmf]()

1001

()

0101

1/

()

0011

0000

aeAEtannnna

beBEntbnnnb

t

ceCEnntcnnc

neNEnnnnn

VVZZZZZI

VVZZZZZI

n

VVZZZZZI

VVZZZZI

-+---

-

éùéùéùéù

éù

êúêúêúêú

êú

--+--

-

êúêúêúêú

êú

=+

êúêúêúêú

êú

---+-

-

êúêúêúêú

êú

----

ëû

ëûëûëûëû

                      

                                                                   __________________________  2.23

Comparing equations (2.22) and (2.23) with equation (2.1)



Y1
  0
  0
−Y1
A = 
  0
 Y2
  0
−Y2

  0
  0
 Y3
−Y3 

−Y1
−Y2
−Y3
Y1+ Y2+ Y3+1/ ZN

 
  1
 0
 0
0

B=1/ nt
  0
 1
 0
0


  0
 0
 1
0


 −1
−1
−1
0



   1
  0
  0
−1

C=1/ nt
0
  1
  0
−1


   0
  0          1
−1


   0
  0
  0
 0


− ( Zta + Zn)      
−Zn

−Zn

−Zn


D   =
       −Zn
        − ( Ztb + Zn)

−Zn

−Zn

       −Zn
               −Zn
− ( Ztc + Zn)
−Zn

       −Zn
               −Zn
   −Zn

−Zn
2.3.8. Three phase regulator:

(A)  Star connected regulator:

[image: image63.png]—s
.U
A —ln
.—‘.__;_:,\‘a\__# -
E :
+ é/n < ¥ =
- F
aa + L ey
M \r""‘x—\ o, b b
=1 _M L ]
2 e
42 —_—,
9 c

—
‘_wv'v%i

C ——1¢
.

Fig2.11 Star connected three phase woltage regulator




(i)  Sending−endcurrent :

IA = Y1 VAE  −Y1 VNE + Ia / aRa
IB = Y2 VBE  −Y2VNE  + Ib /  aRb
IC =  Y2 VCE  −Y3 VNE  + Ic / aRc

[image: image64.wmf]c

b

a

C

B

A

N

NE

N

I

I

I

I

I

I

Z

V

I

+

+

+

+

+

-

=

)

(



[image: image65.wmf]123

NEabc

ANBNCNabc

NabRc

VIII

YVYVYVIII

ZaRaRa

æöæöæö

=-+-+-++++

ç÷ç÷ç÷

èøèøèø



[image: image66.wmf]123123

1111

111

AEBECENEabc

N

RaRbRc

YVYVYVYYYVIII

Zaaa

æöæöæö

æö

=---+++++-+-+-

ç÷ç÷ç÷

ç÷

èø

èøèøèø


Hence, 


[image: image67.wmf]11

22

33

123123

001/000

0001/00

00001/0

1/11/11/11/1

AAERaa

BBERbb

CCERcc

NNNERaRbRcn

IYYVaI

IYYVaI

IYYVaI

IYYYYYYZVaaaI

-

éùéùéùéùéù

êúêúêúêúêú

-

êúêúêúêúêú

=+

êúêúêúêúêú

-

êúêúêúêúêú

---+++---

ëûëûëûëûëû

                                             

                                                                     ​​​​​​​​​​​​​_____________________________2.24

(ii) Receiving−endvoltages :

Vae =  Vne+ (VAE – VNE  )/ aRa
Vbe =  Vne+ (VBE – VNE  )/ aRb
Vce =  Vne+ (VCE – VNE  )/ aRc
Vne = VNE 

Hence,


[image: image68.wmf]1/0011/0000

01/011/0000

001/11/0000

00010000

aeAEa

RaRa

beBEb

RbRb

ceCEc

RcRc

neNEn

VVI

aa

VVI

aa

VVI

aa

VVI

-

éùéùéù

éùéù

êúêúêú

êúêú

-

êúêúêú

êúêú

=+

êúêúêú

êúêú

-

êúêúêú

êúêú

ëûëû

ëûëûëû

             2.25

Where,

aRa, aRb, aRc  are effective turns ratio for single phase regulator.

Comparing equations (2.24) and (2.25) with equation (2.1)

 


  Y1
  0
  0
−Y1

A = 
   0
 Y2
  0
−Y2


   0
  0
 Y3
−Y3  


−Y1
−Y2
−Y3
Y1+Y2+Y3+1/ZN

             1/aRa            0               0            0

 B  =         0            1/aRb           0            0 

                 0                0            1/aRc       0

  
1−1/aRa     1−1/aRb     1−1/aRc     1


             1/aRa            0               0            1−1/aRa

 C  =         0            1/aRb           0            1−1/aRb 

                 0                0            1/aRc       1−1/aRc

  
     0                0               0              1

D = 0

CHAPTER −3

                                                 DISTRIBUTION SYSTEM 
                                                         LOAD-FLOW

3.1 INTRODUCTION

Load-flow solution involves calculation of bus voltages, line currents, line flows and losses provided full network parameters, complex loads and one bus voltage as reference at steady state condition is known. Classical load-flow algorithms like Gauss Seidel, Newton Raphson and fast decoupled load-flow are widely used especially for transmission systems. They can also be used, in general, for distribution systems. However, a distribution system is simpler in terms of configuration than a transmission system in the sense that the former is mostly a radial system as opposite to the latter which is in general highly meshed. Hence, simpler load-flow algorithms are employed in solving distribution system networks. However, these algorithms must calculate the node voltages for all the phases separately since, unlike a more or less balanced transmission system, a distribution system is significantly unbalanced.
Different techniques have been developed to solve load-flow for such distribution networks. Literature survey shows that the two most commonly used techniques for    radial distribution load-flow are one based  on a Newton like method  involving formation of Jacobians and computation of power mismatches at the  end of the feeder and laterals, and the other based on the backward and forward sweeps involving computation of branch current flows .  It involves of backward update of power flows and losses and forward updates of voltages. In this method it is assumed that voltage at the sending end of the feeder and loads at the receiving end of the feeder branch section are known in advance.
Distribution system load-flow algorithm primarily involves calculation of node voltages and line currents given the substation transformer secondary side voltages, full network parameters and complex loads. In this study the network elements are modeled using generalized 2−port parameters.
 The algorithm used here is applicable for radial distribution systems. It does not involve any matrix factorization or inversion for that matter and is hence computationally less costly. Since, the distribution systems commonly encountered are simple in terms of configuration, this algorithm converges very fast. Hence, it is efficient and quick and can be comfortably used in solving radial distribution systems. This load-flow algorithm is tested using PlanwoRx software.

3.2 LOAD-FLOWALGORITHM

The load-flow algorithm consists of the following steps:

Step 0: Initialize:

The A, B, C, D parameters are evaluated for each element of network. The branch currents are initialized to zero. Feeder primary voltage is initialized to the substation voltage.

Step 1a: Voltage Update: (Forward sweep)
Starting from the feeder, the network is traversed recursively to the load ends and the receiving end voltages of each device are evaluated using the C and D matrices of the device and the sending end voltage (out of most recent  iteration voltage) and receiving end currents (currents of the previous iteration) of the device.

Step 1b: Load assignment:

Using the latest voltages and currents of previous iteration and depending upon the load type (constant impedance, constant current, constant power or a combination of two or more of these), the complex load power demand are evaluated and assigned to each load.

Step 2: Current Update: (Backward sweep)
The network is traversed from the load end up to the source end by updating the sending end current and summing them up at the nodes having more than one lateral. The sending end currents are evaluated using the A and B matrices of the device, the sending end voltages (voltages of the previous iteration) and the receiving end currents (latest currents of the current iteration) of the device. The load currents are evaluated using the complex load powers assigned to them in the previous iteration and the load voltages of the previous iteration. A check is also made on the device currents so that if the magnitude of the device current of any phase is greater than a certain value (i.e., abnormally high), the program terminates printing a message that the load-flow has diverged.

Step 3: Convergence check:

The feeder current values of the previous iteration and the current iteration are compared. If the magnitude of the difference between them is less than a tolerance value, the load-flow is said to have converged. If the load-flow converges the next step (step 4) is carried out else the program loops to step 1. If the number of iterations exceeds a certain value, the program terminates.

Step 4: Line flow and loss calculation:

Starting from the feeder end, the network is traversed recursively to the load ends calculating the three phase sending end complex power flows and complex losses for each network element and the final assigned loads.

Step 5: Load-flow Results output:

Starting from the feeder end, the network is traversed recursively to the load ends, printing the complex device voltages, complex device currents, final loads assigned, three phase complex power flows and device losses.
3.3 ENERLTSER SOFTWARE

Enerlyser is an integrated software package for analyzing electrical distribution systems. It is an engineering analysis program, which allows the operator to perform a range of different analyses on models of electrical distribution systems. 
Salient-Feature of Enerlyser  

1 Integrated with an graphic electrical documentation and GIS software.
2. Data entry is easy and flexible
3. Results can be produced in tabular form, or exported for displaying graphically in excel for better understanding.
4. The GIS software provides for single line diagram display of the network preferably including schematic diagram of substation and access to any or all equipment and network information with zoom facility.

5. The software provides the list of all elements drawn in the drawing, which can be found out for the purpose of consolidating assets in the network. This list contains the details such as circuit km length of lines, number of transformers, etc. for different voltage levels, and for any part of the drawing.  It also provides the HT, LT line length ratio of distribution feeders and other lines.
The load-flow analysis module is the principal analysis module in Enerlyser. The load-flow module helps to pinpoint problems in the existing system and determine the effects of additions and upgrades before implementing them in actual fieldwork. It gives the data needed to confidently carry out load-flow for identify improvements in the system. Given the system model, a load-flow analysis solves for the flows and voltages at all points in the system. On a typical system, those values are measured only at a handful no. of points (typically substations). Load-flow allows the operator to determine conditions throughout the system.

In Enerlyser, load-flow analysis is fast, versatile, and powerful. Traditional load-flow algorithms are not always suitable for the configuration, size or loading conditions found in distribution systems.
CHAPTER −4

                                                                               RESULTS 

                                                                                                                                                             
4.1 IEEE 123 NODE DISTRIBUTION SYSTEM

The load-flow algorithm was tested on a IEEE−123 node distribution system drawn in Enerlyser. The layout of the network and load-flow results obtained from Enerlyser is also shown.
                                            Fig. 4.1 IEEE 123 node Test Feeder          

4.2 COMPARISON OF RESULTS  

                               The following tables shows the comparison difference between

Enerlyser (E’er) software results and those published in IEEE 123 bus feeder system [13]. 

                                  Table 1: Comparison of Current (Amp)         

	From node
	To node
	           Phase R
	          Phase Y
	          Phase B

	
	
	E’er
	IEEE
	Diff
	E’er
	IEEE
	Diff
	E’er
	IEEE
	Diff

	150
	RG1
	655.1
	655.91
	0.81
	425.3
	425.91
	0.61
	524.2
	523.82
	−0.38


	RG1
	149
	628.2
	628.42
	0.22
	408.0
	408.06
	0.06
	502.3
	501.86
	−0.44

	149
	1
	628.2
	628.42
	0.22
	408.0
	408.06
	0.06
	502.3
	501.86
	−0.44

	1
	2
	
	
	
	8.93
	8.94
	0.01
	
	
	

	1
	3
	
	
	
	
	
	
	46.55
	46.54
	−0.01

	1
	7
	610.2
	610.45
	0.25
	400.3
	399.99
	−0.31
	455.4
	455.89
	0.49

	3
	4
	
	
	
	
	
	
	17.92
	18.01
	0.09

	3
	5
	
	
	
	
	
	
	28.62
	28.51
	−0.11

	5
	6
	
	
	
	
	
	
	19.31
	19.20
	−0.11

	7
	8
	601.1
	601.39
	0.29
	400.3
	399.99
	−0.31
	455.4
	455.89
	0.49

	8
	12
	
	
	
	8.99
	8.97
	−0.02
	
	
	

	8
	13
	555.1
	555.51
	0.41
	390.4
	390.31
	−0.09
	455.4
	455.89
	0.49

	8
	9
	46.12
	46.22
	0.1
	
	
	
	
	
	

	13
	152
	332.0
	332.01
	0.01
	243.9
	244.34
	0.44
	265.1
	265.02
	−0.08

	13
	18
	228.2
	228.85
	0.65
	155.2
	155.56
	0.36
	153.8
	153.35
	−0.45

	13
	34
	
	
	
	
	
	
	48.12
	48.42
	0.3

	152
	52
	332.0
	332.01
	0.01
	243.9
	244.34
	0.44
	265.1
	265.02
	−0.08

	52
	53
	313.9
	314.05
	0.15
	244.0
	244.34
	0.34
	265.1
	265.02
	−0.08

	53
	54
	296.2
	296.14
	−0.06
	244.1
	244.34
	0.24
	265.1
	265.02
	−0.08

	54
	55
	9.12
	9.28
	0.16
	9.09
	9.01
	−0.08
	0.00
	0.00
	0

	54
	57
	287.1
	287.25
	0.15
	234.8
	235.82
	1.02
	265.1
	265.02
	−0.08

	55
	56
	0.00
	0.00
	0
	9.10
	9.01
	−0.09
	0.00
	0.00
	0

	57
	58
	
	
	
	18.46
	18.35
	−0.11
	
	
	

	57
	60
	286.7
	287.25
	0.55
	218.2
	218.62
	0.42
	266.1
	265.02
	−1.08

	58
	59
	
	
	
	9.15
	9.04
	−0.11
	
	
	

	60
	160
	241.1
	240.09
	−1.01
	171.8
	172.00
	0.2
	191.0
	191.06
	0.06

	60
	61
	0.00
	0.00
	0
	0.00
	0.00
	0
	0.00
	0.00
	0

	60
	62
	45.32
	45.37
	0.05
	52.24
	52.24
	0
	80.61
	80.73
	0.12

	160
	RG4
	241.1
	240.09
	−1.01
	171.8
	172.00
	0.2
	191.0
	191.06
	0.06

	RG4
	67
	228.3
	228.66
	0.36
	170.8
	170.93
	0.13
	185.6
	185.25
	−0.35


	From node
	To node
	           Phase R
	          Phase Y
	          Phase B

	
	
	E’er
	IEEE
	  Diff
	E’er
	IEEE
	  Diff
	E’er
	IEEE
	 Diff

	67
	68
	55.02
	54.15
	−0.87
	
	
	
	
	
	

	67
	72
	118.6
	118.75
	0.15
	126.4
	126.10
	−0.3
	132.2
	132.91
	0.71

	67
	97
	82.69
	82.68
	−0.01
	54.03
	54.30
	0.27
	64.19
	64.43
	0.24

	68
	69
	45.11
	45.14
	0.03
	
	
	
	
	
	

	69
	70
	27.09
	27.10
	0.01
	
	
	
	
	
	

	70
	71
	17.99
	18.07
	0.08
	
	
	
	
	
	

	72
	73
	
	
	
	
	
	
	55.29
	55.31
	0.02

	72
	76
	118.2
	118.75
	0.55
	126.5
	126.10
	−0.4
	100.2
	100.03
	−0.17

	73
	74
	
	
	
	
	
	
	37.28
	37.27
	−0.01

	74
	75
	
	
	
	
	
	
	18.06
	18.09
	0.03

	76
	77
	77.29
	77.82
	0.53
	77.34
	77.40
	0.06
	77.56
	77.45
	−0.11

	76
	86
	32.12
	32.69
	0.57
	57.01
	57.67
	0.66
	22.01
	21.03
	−0.98

	77
	78
	77.28
	77.82
	0.54
	79.98
	80.01
	0.03
	77.54
	77.45
	−0.09

	78
	79
	19.38
	19.31
	−0.07
	
	
	
	
	
	

	78
	80
	80.12
	80.52
	0.4
	80.21
	80.01
	−0.2
	77.21
	77.45
	0.24

	80
	81
	80.13
	80.52
	0.39
	86.34
	86.40
	0.06
	77.23
	77.45
	0.22

	81
	82
	80.13
	80.52
	0.39
	86.34
	86.40
	0.06
	82.85
	82.90
	0.05

	81
	84
	
	
	
	
	
	
	27.08
	27.01
	−0.07

	82
	83
	86.76
	86.90
	0.14
	86.35
	86.40
	0.05
	82.84
	82.90
	0.06

	84
	85
	
	
	
	
	
	
	18.07
	18.01
	−0.06

	86
	87
	31.76
	32.69
	0.93
	49.17
	49.21
	0.04
	20.98
	21.02
	0.04

	87
	88
	20.89
	21.00
	0.11
	
	
	
	
	
	

	87
	89
	17.89
	18.03
	0.14
	33.45
	33.25
	−0.2
	20.98
	21.02
	0.04

	89
	90
	
	
	
	20.99
	21.16
	0.17
	
	
	

	89
	91
	17.94
	18.03
	0.09
	17.99
	18.15
	0.16
	21.21
	21.02
	−0.19

	91
	92
	
	
	
	
	
	
	21.11
	21.02
	−0.09

	91
	93
	17.98
	18.03
	0.05
	18.01
	18.15
	0.14
	0.02
	0.00
	−0.02

	93
	94
	17.91
	18.03
	0.12
	
	
	
	
	
	

	93
	95
	0.00
	0.00
	0
	18.00
	18.15
	0.15
	0.00
	0.00
	0

	95
	96
	
	
	
	9.01
	9.08
	0.07
	
	
	

	97
	197
	64.65
	64.68
	0.03
	36.12
	36.21
	0.09
	45.34
	45.20
	−0.14

	97
	98
	17.97
	18.00
	0.03
	18.01
	18.08
	0.07
	19.21
	19.23
	0.02

	197
	101
	65.13
	64.68
	−0.45
	35.97
	36.21
	0.24
	44.98
	45.20
	0.22

	101
	102
	
	
	
	
	
	
	45.05
	45.20
	0.15

	101
	105
	65.23
	64.68
	−0.55
	35.97
	36.21
	0.24
	0.00
	0.00
	0

	102
	103
	
	
	
	
	
	
	36.06
	36.18
	0.12

	103
	104
	
	
	
	
	
	
	18.05
	18.11
	0.06

	105
	106
	
	
	
	35.87
	36.22
	0.35
	
	
	


	From node
	To node
	           Phase R
	          Phase Y
	          Phase B

	
	
	E’er
	IEEE
	 Diff
	E’er
	IEEE
	 Diff
	E’er
	IEEE
	 Diff

	105
	108
	64.11
	64.68
	0.57
	0.00
	0.00
	0
	0.00
	0.00
	0

	106
	107
	
	
	0
	17.94
	18.12
	0.18
	
	
	0

	108
	109
	64.11
	64.68
	0.57
	
	
	0
	
	
	0

	109
	110
	46.14
	46.54
	0.4
	
	
	0
	
	
	0

	110
	111
	8.97
	9.09
	0.12
	
	
	0
	
	
	0

	110
	112
	37.21
	37.45
	0.24
	
	
	0
	
	
	0

	112
	113
	28.21
	28.14
	−0.07
	
	
	0
	
	
	0

	113
	114
	8.97
	9.11
	0.14
	
	
	0
	
	
	0

	98
	99
	0.01
	0.00
	−0.01
	17.97
	18.08
	0.11
	19.25
	19.23
	−0.02

	99
	100
	0.06
	0.00
	−0.06
	0.00
	0.00
	0
	19.27
	19.23
	−0.04

	100
	450
	0.00
	0.00
	0
	0.00
	0.00
	0
	0.00
	0.00
	0

	61
	XF1
	0.00
	0.00
	0
	0.00
	0.00
	0
	0.00
	0.00
	0

	XF1
	610
	0.00
	0.00
	0
	0.00
	0.00
	0
	0.00
	0.00
	0

	62
	63
	45.13
	45.37
	0.24
	52.24
	52.24
	0
	61.96
	62.06
	0.1

	63
	64
	27.11
	27.13
	0.02
	52.23
	52.24
	0.01
	61.96
	62.06
	0.1

	64
	65
	27.10
	27.13
	0.03
	17.97
	17.99
	0.02
	61.96
	62.06
	0.1

	65
	66
	0.00
	0.00
	0
	0.00
	0.01
	0.01
	34.68
	34.61
	−0.07


	18
	135
	135.12
	135.82
	0.7
	136.2
	136.56
	0.36
	97.97
	98.12
	0.15

	18
	19
	37.15
	37.29
	0.14
	
	
	0
	
	
	0

	18
	21
	55.45
	55.79
	0.34
	19.10
	19.19
	0.09
	55.40
	55.41
	0.01

	135
	35
	135.25
	135.82
	0.57
	136.2
	136.56
	0.36
	99.21
	98.12
	−1.09

	35
	36
	18.53
	18.51
	−0.02
	18.43
	18.37
	−0.06
	
	
	0

	35
	40
	107.96
	108.64
	0.68
	108.2
	108.47
	0.27
	99.14
	98.12
	−1.02

	36
	37
	18.98
	18.51
	−0.47
	
	
	0
	
	
	0

	36
	38
	
	
	0
	18.43
	18.37
	−0.06
	
	
	0

	38
	39
	
	
	0
	9.12
	9.06
	−0.06
	
	
	0

	40
	41
	
	
	0
	
	
	0
	9.16
	9.22
	0.06

	40
	42
	109.69
	108.64
	−1.05
	108.2
	108.47
	0.27
	90.04
	88.95
	−1.09

	42
	43
	
	
	0
	18.96
	19.10
	0.14
	
	
	0

	42
	44
	99.02
	99.32
	0.3
	89.50
	89.57
	0.07
	89.89
	88.95
	−0.94

	44
	45
	18.62
	18.71
	0.09
	
	
	0
	
	
	0

	44
	47
	80.24
	80.76
	0.52
	89.51
	89.57
	0.06
	89.89
	88.95
	−0.94

	45
	46
	9.16
	9.40
	0.24
	
	
	0
	
	
	0

	47
	48
	36.12
	35.48
	−0.64
	36.47
	36.71
	0.24
	36.39
	36.01
	−0.38

	47
	49
	27.39
	27.40
	0.01
	35.92
	34.95
	−0.97
	35.19
	35.15
	−0.04

	49
	50
	9.45
	9.40
	−0.05
	0.00
	0.00
	0
	18.36
	18.49
	0.13


	From node
	To node
	           Phase R
	          Phase Y
	          Phase B

	
	
	E’er
	IEEE
	 Diff
	E’er
	IEEE
	 Diff
	E’er
	IEEE
	 Diff

	50
	51
	9.16
	9.40
	0.24
	0.00
	0.00
	0
	0.00
	0.00
	0

	51
	151
	0.00
	0.00
	0
	0.00
	0.00
	0
	0.00
	0.00
	0

	19
	20
	18.53
	18.62
	0.09
	
	
	0
	
	
	0

	21
	22
	
	
	0
	15.04
	14.19
	−0.85
	
	
	0

	21
	23
	55.17
	55.80
	0.63
	0.00
	0.00
	0
	55.11
	55.41
	0.3

	23
	24
	
	
	0
	
	
	0
	18.34
	18.46
	0.12

	23
	25
	55.16
	55.80
	0.64
	0.00
	0.00
	0
	36.74
	36.95
	0.21

	23
	28
	36.79
	37.18
	0.39
	0.00
	0.00
	0
	18.12
	18.47
	0.35

	25
	RG3
	18.33
	18.62
	0.29
	
	
	0
	18.13
	18.47
	0.34

	28
	29
	18.25
	18.56
	0.31
	0.00
	0.00
	0
	18.37
	18.47
	0.1

	29
	30
	0.00
	0.00
	0
	0.00
	0.00
	0
	18.34
	18.47
	0.13

	30
	250
	0.00
	0.00
	0
	0.00
	0.00
	0
	0.00
	0.00
	0

	RG3
	26
	18.33
	18.62
	0.29
	
	
	
	18.13
	18.59
	0.46

	26
	27
	17.98
	18.62
	0.64
	
	
	
	0.00
	0.00
	0

	26
	31
	
	
	0
	
	
	
	18.33
	18.59
	0.26

	27
	33
	18.62
	18.62
	0
	
	
	
	
	
	0

	31
	32
	
	
	0
	
	
	
	9.17
	9.30
	0.13

	34
	15
	
	
	0
	
	
	
	27.32
	27.45
	0.13

	15
	16
	
	
	0
	
	
	
	18.22
	18.30
	0.08

	15
	17
	
	
	0
	
	
	
	9.10
	9.15
	0.05

	9
	RG2
	27.23
	27.86
	0.63
	
	
	
	
	
	

	RG2
	14
	27.98
	28.03
	0.05
	
	
	
	
	
	

	14
	10
	9.31
	9.31
	0
	
	
	
	
	
	

	14
	11
	19.11
	18.73
	−0.38
	
	
	
	
	
	


                                              Table 2: Comparison of Line Losses (kW)
	From node
	To node
	           Phase R
	          Phase Y
	          Phase B

	
	
	E’er
	IEEE
	  Diff
	E’er
	IEEE
	 Diff
	E’er
	IEEE
	 Diff

	150
	RG1
	0.000
	0.000
	0
	0.000
	0.000
	0
	0.000
	0.000
	0

	RG1
	149
	0.000
	0.000
	0
	0.000
	0.000
	0
	0.000
	0.000
	0

	149
	1
	11.15
	11.176
	0.026
	0.420
	0.429
	0.009
	7.550
	7.554
	0.004

	1
	2
	
	
	0
	0.004
	0.004
	0
	
	
	0

	1
	3
	
	
	0
	
	
	0
	0.140
	0.136
	−0.004

	1
	7
	8.400
	8.408
	0.008
	0.160
	0.167
	0.007
	4.500
	4.515
	0.015

	3
	4
	
	
	0
	
	
	0
	0.015
	0.016
	0.001

	3
	5
	
	
	0
	
	
	0
	0.060
	0.066
	0.006

	5
	6
	
	
	0
	
	
	0
	0.020
	0.023
	0.003

	7
	8
	5.420
	5.420
	0
	0.190
	0.184
	−0.006
	3.000
	2.979
	−0.021

	8
	12
	
	
	0
	0.001
	0.005
	0.004
	
	
	0

	8
	13
	6.700
	6.704
	0.004
	0.710
	0.700
	−0.01
	4.340
	4.341
	0.001

	8
	9
	0.120
	0.122
	0.002
	
	
	0
	
	
	0

	13
	152
	0.000
	0.000
	0
	0.000
	0.000
	0
	0.000
	0.000
	0

	13
	18
	2.440
	2.436
	−0.004
	0.340
	0.341
	0.001
	2.200
	2.131
	−0.069

	13
	34
	
	
	0
	
	
	0
	0.080
	0.081
	0.001

	152
	52
	3.550
	3.538
	−0.012
	0.360
	0.363
	    0.003
	1.800
	1.719
	−0.081

	52
	53
	1.550
	1.555
	0.005
	0.270
	0.271
	0.001
	0.840
	0.837
	−0.003

	53
	54
	0.851
	0.846
	−0.005
	0.220
	0.226
	0.006
	0.500
	0.508
	0.008

	54
	55
	0.001
	0.003
	0.002
	0.000
	0.000
	0
	0.000
	0.000
	0

	54
	57
	1.540
	1.543
	0.003
	1.320
	1.328
	0.008
	1.400
	1.369
	−0.031

	55
	56
	0.000
	0.000
	0
	0.020
	0.020
	0
	0.000
	0.000
	0

	57
	58
	
	
	0
	0.020
	0.021
	0.001
	
	
	0

	57
	60
	3.200
	3.190
	−0.01
	2.300
	2.296
	−0.004
	3.200
	3.294
	0.094

	58
	59
	
	
	0
	0.004
	0.005
	0.001
	
	
	0

	60
	160
	0.000
	0.000
	0
	0.000
	0.000
	0
	0.000
	0.000
	0

	60
	61
	0.000
	0.000
	0
	0.001
	0.001
	0
	0.000
	0.000
	0

	60
	62
	0.070
	0.072
	0.002
	0.150
	0.151
	0.001
	0.340
	0.341
	0.001

	160
	RG4
	0.000
	0.000
	0
	0.000
	0.000
	0
	0.000
	0.000
	0

	RG4
	67
	0.920
	0.940
	0.02
	0.430
	0.429
	−0.001
	1.000
	1.001
	0.001


	From node
	To node
	           Phase R
	          Phase Y
	          Phase B

	
	
	E’er
	IEEE
	 Diff
	E’er
	IEEE
	 Diff
	E’er
	IEEE
	 Diff

	67
	68
	0.150
	0.148
	−0.002
	
	
	0
	
	
	

	67
	72
	0.110
	0.117
	0.007
	0.40
	0.396
	−0.004
	0.250
	0.256
	0.006

	67
	97
	0.100
	0.094
	−0.006
	0.030
	0.035
	0.005
	0.070
	0.077
	0.007

	68
	69
	0.122
	0.141
	0.019
	
	
	0
	
	
	0

	69
	70
	0.050
	0.060
	0.01
	
	
	0
	
	
	0

	70
	71
	0.023
	0.023
	0
	
	
	0
	
	
	0

	72
	73
	
	
	0
	
	
	0
	0.200
	0.212
	0.012

	72
	76
	0.153
	0.168
	0.015
	0.240
	0.248
	0.008
	0.020
	0.020
	0

	73
	74
	
	
	0
	
	
	0
	0.100
	0.122
	0.022

	74
	75
	
	
	0
	
	
	0
	0.030
	0.033
	0.003

	76
	77
	0.101
	0.101
	0
	0.150
	0.151
	0.001
	0.160
	0.166
	0.006

	76
	86
	0.072
	0.075
	0.003
	0.110
	0.191
	0.081
	−0.03
	−0.036
	−0.006

	77
	78
	0.031
	0.034
	0.003
	0.030
	0.031
	0.001
	0.040
	0.043
	0.003

	78
	79
	0.007
	0.008
	0.001
	0.000
	0.000
	0
	0.000
	0.000
	0

	78
	80
	0.110
	0.126
	0.016
	0.140
	0.139
	−0.001
	0.250
	0.259
	0.009

	80
	81
	0.165
	0.175
	0.01
	0.120
	0.120
	0
	0.260
	0.267
	0.007

	81
	82
	0.093
	0.091
	−0.002
	0.110
	0.112
	0.002
	0.500
	0.500
	0

	81
	84
	
	
	0
	
	
	0
	0.120
	0.124
	0.004

	82
	83
	0.080
	0.081
	0.001
	0.100
	0.102
	0.002
	0.136
	0.135
	−0.001

	84
	85
	
	
	0
	
	
	0
	0.040
	0.039
	−0.001

	86
	87
	0.060
	0.059
	−0.001
	0.010
	0.066
	0.056
	−0.01
	−0.009
	0.001

	87
	88
	0.020
	0.019
	−0.001
	
	
	0
	
	
	0

	87
	89
	0.020
	0.019
	−0.001
	0.030
	0.031
	0.001
	−0.01
	−0.009
	0.001

	89
	90
	
	
	0
	0.020
	0.025
	0.005
	
	
	0

	89
	91
	0.010
	0.009
	−0.001
	0.007
	0.008
	0.001
	0.000
	0.001
	0.001

	91
	92
	
	
	0
	
	
	0
	0.021
	0.033
	0.012

	91
	93
	0.010
	0.010
	0
	0.000
	0.001
	0.001
	0.000
	0.000
	0

	93
	94
	0.022
	0.023
	0.001
	
	
	0
	
	
	0

	93
	95
	0.000
	0.000
	0
	0.007
	0.008
	0.001
	0.000
	0.000
	0

	95
	96
	
	
	0
	0.001
	0.004
	0.003
	
	
	0

	97
	197
	0.000
	0.000
	0
	0.000
	0.000
	0
	0.000
	0.000
	0

	97
	98
	0.004
	0.004
	0
	0.001
	0.007
	0.006
	0.001
	0.005
	0.004

	197
	101
	0.050
	0.060
	0.01
	0.100
	0.101
	0.001
	0.040
	0.044
	0.004

	101
	102
	
	
	0
	
	
	0
	0.120
	0.116
	−0.004

	101
	105
	0.122
	0.133
	0.011
	−0.01
	−0.019
	−0.009
	0.000
	0.000
	0

	102
	103
	
	
	0
	
	
	
	0.100
	0.107
	0.007

	103
	104
	
	
	
	
	
	
	0.050
	0.058
	0.008

	105
	106
	
	
	
	0.050
	0.074
	0.024
	
	
	


	From node
	To node
	           Phase R
	          Phase Y
	          Phase B

	
	
	E’er
	IEEE
	 Diff
	E’er
	IEEE
	 Diff
	E’er
	IEEE
	 Diff

	105
	108
	0.010
	0.119
	0.109
	0.000
	0.000
	0
	0.000
	0.000
	0

	106
	107
	
	
	0
	0.040
	0.048
	0.008
	
	
	0

	108
	109
	
	
	0
	
	
	0
	
	
	0

	109
	110
	0.010
	0.164
	0.154
	
	
	0
	
	
	0

	110
	111
	0.001
	0.012
	0.011
	
	
	0
	
	
	0

	110
	112
	0.021
	0.044
	0.023
	
	
	0
	
	
	0

	112
	113
	0.040
	0.105
	0.065
	
	
	0
	
	
	0

	113
	114
	0.010
	0.007
	−0.003
	
	
	0
	
	
	0

	98
	99
	0.000
	0.000
	0
	0.020
	0.028
	0.008
	0.000
	0.000
	0

	99
	100
	0.000
	0.000
	0
	0.000
	0.000
	0
	0.010
	0.010
	0

	100
	450
	0.000
	0.000
	0
	−0.010
	−0.001
	0.009
	0.000
	0.001
	0.001

	61
	XF1
	0.000
	0.000
	0
	0.000
	0.000
	0
	0.000
	0.000
	0

	XF1
	610
	0.000
	0.000
	0
	0.000
	0.000
	0
	0.000
	0.000
	0

	62
	63
	0.061
	0.065
	0.004
	0.101
	0.106
	0.005
	0.120
	0.125
	0.005

	63
	64
	0.030
	0.032
	0.002
	0.240
	0.245
	0.005
	0.250
	0.256
	0.006

	64
	65
	0.024
	0.024
	0
	0.030
	0.031
	0.001
	0.370
	0.398
	0.028

	65
	66
	0.000
	0.000
	0
	0.000
	0.000
	0
	0.100
	0.112
	0.012

	18
	135
	0.007
	0.009
	0.002
	0.000
	0.000
	0
	0.000
	0.000
	0

	18
	19
	0.080
	0.087
	0.007
	
	
	0
	
	
	0

	18
	21
	0.010
	0.011
	0.001
	−0.010
	−0.002
	0.008
	0.110
	0.116
	0.006

	135
	35
	0.460
	0.555
	0.095
	0.032
	0.397
	0.365
	0.070
	0.074
	0.004

	35
	36
	0.030
	0.030
	0
	0.010
	0.003
	−0.007
	
	
	0

	35
	40
	0.250
	0.246
	−0.004
	0.010
	0.126
	0.116
	0.110
	0.110
	0

	36
	37
	0.022
	0.026
	0.004
	
	
	0
	
	
	0

	36
	38
	
	
	0
	0.020
	0.021
	0.001
	
	
	0

	38
	39
	
	
	0
	0.010
	0.007
	−0.003
	
	
	0

	40
	41
	
	
	0
	
	
	0
	0.004
	0.007
	0.003

	40
	42
	0.250
	0.265
	0.015
	0.010
	0.110
	0.1
	0.050
	0.083
	0.033

	42
	43
	
	
	0
	0.040
	0.046
	0.006
	
	
	0

	42
	44
	0.101
	0.151
	0.05
	0.620
	0.663
	0.043
	0.067
	0.086
	0.019

	44
	45
	0.010
	0.018
	0.008
	
	
	0
	
	
	0

	44
	47
	0.120
	0.125
	0.005
	0.101
	0.117
	0.016
	0.066
	0.085
	0.019

	45
	46
	0.005
	0.007
	0.002
	
	
	0
	
	
	0

	47
	48
	0.010
	0.012
	0.002
	0.010
	0.015
	0.005
	0.010
	0.007
	−0.003

	47
	49
	0.010
	0.010
	0
	0.020
	0.030
	0.01
	0.010
	0.007
	−0.003

	49
	50
	−0.004
	−0.002
	0.002
	0.000
	0.000
	0
	0.010
	0.010
	0


	From node
	To node
	           Phase R
	          Phase Y
	          Phase B

	
	
	E’er
	IEEE
	 Diff
	E’er
	IEEE
	 Diff
	E’er
	IEEE
	 Diff

	50
	51
	0.001
	0.002
	0.001
	0.000
	0.000
	0.000
	0.000
	0.000
	0.000

	51
	151
	0.000
	0.000
	0
	0.000
	0.000
	0.000
	0.000
	0.001
	0.001

	19
	20
	0.020
	0.028
	0.008
	
	
	
	
	
	

	21
	22
	
	
	
	0.040
	0.049
	0.009
	
	
	

	21
	23
	−0.002
	−0.006
	−0.004
	0.000
	0.000
	0.000
	0.090
	0.117
	0.027

	23
	24
	
	
	
	
	
	
	0.040
	0.047
	0.007

	23
	25
	0.011
	0.021
	0.010
	0.000
	0.000
	0.000
	0.070
	0.070
	0.000

	23
	28
	0.010
	0.011
	0.001
	0.000
	0.000
	0.000
	0.010
	0.015
	0.005

	25
	RG3
	0.000
	0.000
	0.000
	
	
	
	0.000
	0.000
	0.000

	28
	29
	−0.001
	−0.001
	0.000
	0.000
	0.000
	0.000
	0.010
	0.015
	0.005

	29
	30
	0.000
	0.000
	0.000
	0.000
	0.000
	0.000
	0.010
	0.010
	0.000

	30
	250
	0.000
	0.000
	0.000
	0.000
	0.000
	0.000
	0.000
	0.000
	0.000

	RG3
	26
	0.001
	0.001
	0.000
	
	
	
	0.010
	0.016
	0.006

	26
	27
	0.001
	0.009
	0.008
	
	
	
	0.000
	0.000
	0.000

	26
	31
	
	
	
	
	
	
	0.020
	0.020
	0.000

	27
	33
	0.023
	0.044
	0.021
	
	
	
	
	
	

	31
	32
	
	
	
	
	
	
	0.010
	0.007
	−0.003

	34
	15
	
	
	
	
	
	
	0.018
	0.019
	0.001

	15
	16
	
	
	
	
	
	
	0.034
	0.032
	−0.002

	15
	17
	
	
	
	
	
	
	0.010
	0.007
	−0.003

	9
	RG2
	0.000
	0.000
	0.000
	
	
	
	
	
	

	RG2
	14
	0.075
	0.084
	0.009
	
	
	
	
	
	

	14
	10
	0.001
	0.005
	0.004
	
	
	
	
	
	

	14
	11
	0.020
	0.022
	0.002
	
	
	
	
	
	


                                      Table 3: Comparison of Voltages (p.u.)

	 Node
	           Phase R
	          Phase Y
	          Phase B

	
	E’er
	IEEE
	 Diff
	E’er
	IEEE
	 Diff
	E’er
	IEEE
	 Diff

	150
	1.0000
	1.0000
	0.0000
	1.0000
	1.0000
	0.0000
	1.0000
	1.0000
	0.0000

	RG1
	1.0436
	1.0437
	0.0001
	1.0437
	1.0438
	0.0001
	1.0437
	1.0438
	0.0001

	149
	1.0436
	1.0436
	0.0000
	1.0436
	1.0437
	0.0001
	1.0436
	1.0436
	0.0000

	1
	1.0311
	1.0311
	0.0000
	1.0411
	1.0412
	0.0001
	1.0347
	1.0348
	0.0001

	2
	
	
	
	1.0410
	1.0410
	0.0000
	
	
	

	3
	
	
	
	
	
	
	1.0330
	1.0331
	0.0001

	4
	
	
	
	
	
	
	1.0325
	1.0326
	0.0001

	5
	
	
	
	
	
	
	1.0315
	1.0318
	0.0003

	6
	
	
	
	
	
	
	1.0310
	1.0311
	0.0001

	7
	1.0217
	1.0218
	0.0001
	1.0393
	1.0395
	0.0002
	1.0290
	1.0291
	0.0001

	8
	1.0157
	1.0158
	0.0001
	1.0380
	1.0382
	0.0002
	1.0250
	1.0253
	0.0003

	12
	
	
	
	1.0375
	1.0379
	0.0003
	
	
	

	13
	1.0080
	1.0079
	0.0001
	1.0361
	1.0360
	0.0001
	1.0194
	1.0196
	0.0002

	152
	1.0078
	1.0078
	0.0000
	1.0360
	1.0360
	0.0000
	1.0194
	1.0196
	0.0002

	52
	1.0018
	1.0018
	0.0000
	1.0346
	1.0348
	0.0002
	1.0165
	1.0164
	0.0001

	53
	0.9990
	0.9991
	0.0001
	1.0341
	1.0340
	0.0001
	1.0150
	1.0148
	0.0002

	54
	0.9975
	0.9976
	0.0001
	1.0332
	1.0334
	0.0002
	1.0137
	1.0138
	0.0001

	55
	0.9975
	0.9974
	0.0001
	1.0333
	1.0334
	0.0001
	1.0140
	1.0139
	0.0001

	56
	0.9975
	0.9974
	0.0001
	1.0330
	1.0332
	0.0002
	1.0140
	1.0140
	0.0000

	57
	0.9946
	0.9945
	0.0001
	1.0303
	1.0306
	0.0003
	1.0110
	1.0113
	0.0003

	58
	
	
	
	1.0300
	1.0300
	0.0000
	
	
	

	59
	
	
	
	1.0297
	1.0296
	0.0001
	
	
	

	60
	0.9981
	0.9880
	0.0001
	1.0256
	1.0256
	0.0000
	1.0050
	1.0052
	0.0002

	160
	0.9980
	0.9880
	0.0000
	1.0255
	1.0256
	0.0001
	1.0050
	1.0052
	0.0002

	RG4
	1.0373
	1.0374
	0.0001
	1.0321
	1.0320
	0.0001
	1.0364
	1.0366
	0.0002

	67
	1.0355
	1.0355
	0.0000
	1.0310
	1.0311
	0.0001
	1.0347
	1.0345
	0.0002

	68
	1.0341
	1.0340
	0.0001
	
	
	
	
	
	

	69
	1.0321
	1.0322
	0.0001
	
	
	
	
	
	

	70
	1.0310
	1.0310
	0.0000
	
	
	
	
	
	

	71
	1.0302
	1.0303
	0.0001
	
	
	
	1.0342
	1.0343
	0.0001

	72
	1.0358
	1.0359
	0.0001
	1.0300
	1.0302
	0.0002
	1.0320
	1.0321
	0.0001

	73
	
	
	
	
	
	
	1.0300
	1.0303
	0.0003

	74
	
	
	
	
	
	
	1.0292
	1.0293
	0.0001

	75
	
	
	
	
	
	
	1.0349
	1.0349
	0.0000

	76
	1.0358
	1.0358
	0.0000
	1.0298
	1.0297
	0.0001
	1.0358
	1.0358
	0.0000

	77
	1.0371
	1.0370
	0.0001
	1.0308
	1.0308
	0.0000
	1.0358
	1.0360
	0.0002


	Node
	           Phase R
	          Phase Y
	          Phase B

	
	E’er
	IEEE
	 Diff
	E’er
	IEEE
	 Diff
	E’er
	IEEE
	 Diff

	78
	1.0371
	1.0373
	0.0003
	1.0310
	1.0312
	0.0002
	1.0358
	1.0360
	0.0002

	79
	1.0371
	1.0370
	0.0001
	1.0315
	1.0313
	0.0002
	1.0358
	1.0359
	0.0002

	80
	1.0395
	1.0394
	0.0001
	1.0330
	1.0329
	0.0001
	1.0366
	1.0368
	0.0002

	81
	1.0413
	1.0415
	0.0002
	1.0350
	1.0352
	0.0002
	1.0375
	1.0374
	0.0001

	82
	1.0422
	1.0424
	0.0002
	1.0362
	1.0364
	0.0002
	1.0380
	1.0382
	0.0002

	83
	1.0435
	1.0436
	0.0001
	1.0374
	1.0375
	0.0001
	1.0390
	1.0390
	0.0000

	84
	
	
	
	
	
	
	1.0346
	1.0348
	0.0002

	85
	
	
	
	
	
	
	1.0335
	1.0336
	0.0001

	86
	1.0350
	1.0349
	0.0001
	1.0277
	1.0279
	0.0002
	1.0365
	1.0364
	0.0001

	87
	1.0340
	1.0342
	0.0002
	1.0271
	1.0272
	0.0001
	1.0370
	1.0369
	0.0001

	88
	1.0340
	1.0342
	0.0002
	
	
	
	
	
	

	89
	1.0336
	1.0338
	0.0002
	1.0270
	1.0270
	0.0000
	1.0370
	1.0373
	0.0003

	90
	
	
	
	1.0270
	1.0269
	0.0001
	
	
	

	91
	1.0336
	1.0336
	0.0000
	1.0266
	1.0266
	0.0000
	1.0375
	1.0376
	0.0001

	92
	
	
	
	
	
	
	1.0375
	1.0375
	0.0000

	93
	1.0332
	1.0333
	0.0001
	1.0266
	1.0265
	0.0001
	1.0375
	1.0377
	0.0002

	94
	1.0325
	1.0326
	0.0001
	
	
	
	
	
	

	95
	1.0332
	1.0332
	0.0000
	1.0260
	1.0261
	0.0001
	1.0376
	1.0378
	0.0002

	96
	
	
	
	1.0255
	1.0258
	0.0003
	
	
	

	97
	1.0343
	1.0345
	0.0002
	1.0305
	1.0306
	0.0001
	1.0337
	1.0338
	0.0001

	197
	1.0343
	1.0345
	0.0002
	1.0305
	1.0306
	0.0001
	1.0337
	1.0338
	0.0001

	101
	1.0335
	1.0337
	0.0002
	1.0302
	1.0303
	0.0001
	1.0330
	1.0332
	0.0002

	102
	
	
	
	
	
	
	1.0318
	1.0318
	0.0000

	103
	
	
	
	
	
	
	1.0300
	1.0301
	0.0001

	104
	
	
	
	
	
	
	1.0281
	1.0283
	0.0002

	105
	1.0324
	1.0323
	0.0001
	1.0300
	1.0301
	0.0001
	1.0333
	1.0335
	0.0002

	106
	
	
	
	1.0291
	1.0290
	0.0001
	
	
	

	107
	
	
	
	1.0275
	1.0275
	0.0000
	
	
	

	108
	1.0310
	1.0309
	0.0001
	1.0310
	1.0308
	0.0002
	1.0333
	1.0334
	0.0002

	109
	1.0265
	1.0267
	0.0002
	
	
	
	
	
	

	110
	1.0250
	1.0248
	0.0002
	
	
	
	
	
	

	111
	1.0240
	1.0240
	0.0000
	
	
	
	
	
	

	112
	1.0240
	1.0241
	0.0001
	
	
	
	
	
	

	113
	1.0220
	1.0220
	0.0000
	
	
	
	
	
	

	114
	1.0215
	1.0216
	0.0001
	
	
	
	
	
	

	300
	1.0310
	1.0309
	0.0001
	1.0310
	1.0308
	0.0002
	1.0333
	1.0334
	0.0001


	Node
	           Phase R
	          Phase Y
	          Phase B

	
	E’er
	IEEE
	 Diff
	E’er
	IEEE
	 Diff
	E’er
	IEEE
	 Diff

	98
	1.0340
	1.0343
	0.0003
	1.0310
	1.0308
	0.0002
	1.0335
	1.0336
	0.0001

	99
	1.0345
	1.0346
	0.0001
	1.0300
	1.0303
	0.0003
	1.0330
	1.0332
	0.0002

	100
	1.0348
	1.0348
	0.0000
	1.0295
	1.0295
	0.0000
	1.0330
	1.0328
	0.0002

	450
	1.0348
	1.0348
	0.0000
	1.0295
	1.0294
	0.0001
	1.0330
	1.0328
	0.0002

	61
	0.9881
	0.9880
	0.0001
	1.0295
	1.0294
	0.0001
	1.0050
	1.0052
	0.0002

	XF1
	0.9881
	0.9880
	0.0001
	1.0255
	1.0256
	0.0001
	1.0050
	1.0052
	0.0002

	610
	0.9881
	0.9880
	0.0001
	1.0255
	1.0256
	0.0001
	1.0050
	1.0052
	0.0002

	62
	0.9870
	0.9872
	0.0001
	1.0255
	1.0256
	0.0001
	1.0030
	1.0032
	0.0002

	63
	0.9865
	0.9866
	0.0001
	1.0242
	1.0245
	0.0003
	1.0023
	1.0022
	0.0001

	64
	0.9864
	0.9863
	0.0001
	1.0235
	1.0236
	0.0001
	1.0000
	1.0000
	0.0000

	65
	0.9855
	0.9856
	0.0001
	1.0216
	1.0217
	0.0001
	0.9970
	0.9970
	0.0000

	66
	0.9856
	0.9858
	0.0002
	1.0215
	1.0214
	0.0001
	0.9955
	0.9955
	0.0000

	18
	0.9986
	0.9988
	0.0002
	1.0215
	1.0216
	0.0001
	1.0120
	1.0122
	0.0002

	135
	0.9986
	0.9988
	0.0002
	1.0318
	1.0319
	0.0001
	1.0120
	1.0122
	0.0002

	35
	0.9962
	0.9960
	0.0002
	1.0317
	1.0318
	0.0001
	1.0111
	1.0112
	0.0001

	36
	0.9950
	0.9951
	0.0001
	1.0290
	1.0293
	0.0003
	
	
	

	37
	0.9941
	0.9943
	0.0002
	
	
	
	
	
	

	38
	
	
	
	1.0280
	1.0282
	0.0002
	
	
	

	39
	
	
	
	1.0277
	1.0278
	0.0001
	
	
	

	40
	0.9944
	0.9945
	0.0001
	1.0280
	1.0282
	0.0002
	1.0100
	1.0101
	0.0001

	41
	
	
	
	
	
	
	1.0096
	1.0097
	0.0001

	42
	0.9930
	0.9929
	0.0001
	1.0270
	1.0270
	0.0000
	1.0090
	1.0092
	0.0002

	43
	
	
	
	1.0255
	1.0257
	0.0002
	
	
	

	44
	0.9916
	0.9918
	0.0002
	1.0261
	1.0263
	0.0002
	1.0082
	1.0084
	0.0002

	45
	0.9910
	0.9913
	0.0003
	
	
	
	
	
	

	46
	0.9910
	0.9909
	0.0001
	
	
	
	
	
	

	47
	0.9910
	0.9908
	0.0002
	1.0251
	1.0253
	0.0002
	1.0072
	1.0074
	0.0002

	48
	0.9905
	0.9905
	0.0000
	1.0250
	1.0250
	0.0000
	1.0072
	1.0072
	0.0000

	49
	0.9905
	0.9905
	0.0000
	1.0245
	1.0247
	0.0002
	1.0070
	1.0071
	0.0001

	50
	0.9905
	0.9905
	0.0000
	1.0245
	1.0247
	0.0002
	1.0065
	1.0067
	0.0002

	51
	0.9904
	0.9903
	0.0001
	1.0246
	1.0248
	0.0002
	1.0065
	1.0067
	0.0002

	151
	0.9905
	0.9903
	0.0002
	1.0246
	1.0248
	0.0002
	1.0065
	1.0067
	0.0002

	19
	0.9976
	0.9975
	0.0001
	
	
	
	
	
	

	20
	0.9965
	0.9967
	0.0002
	
	
	
	
	
	

	21
	0.9980
	0.9983
	0.0003
	1.0320
	1.0320
	0.0000
	1.0110
	1.0111
	0.0001

	22
	
	
	
	1.0304
	1.0305
	0.0001
	
	
	


	Node
	           Phase R
	          Phase Y
	          Phase B

	
	E’er
	IEEE
	 Diff
	E’er
	IEEE
	 Diff
	E’er
	IEEE
	 Diff

	23
	0.9978
	0.9979
	0.0001
	1.0320
	1.0323
	0.0003
	1.0101
	1.0100
	0.0001

	24
	
	
	
	
	
	
	1.0085
	1.0085
	0.0000

	25
	0.9971
	0.9972
	0.0001
	1.0330
	1.0328
	0.0002
	1.0090
	1.0091
	0.0001

	26
	0.9968
	0.9968
	0.0000
	1.0330
	1.0330
	0.0000
	1.0085
	1.0087
	0.0002

	27
	0.9968
	0.9967
	0.0001
	1.0331
	1.0332
	0.0001
	1.0082
	1.0083
	0.0001

	28
	0.9968
	0.9969
	0.0001
	1.0331
	1.0331
	0.0000
	1.0076
	1.0078
	0.0002

	29
	0.9968
	0.9969
	0.0001
	1.0331
	1.0331
	0.0000
	1.0076
	1.0078
	0.0002

	30
	0.9971
	0.9972
	0.0001
	
	
	
	1.0025
	1.0028
	0.0003

	250
	0.9974
	0.9976
	0.0002
	
	
	
	1.0020
	1.0023
	0.0003

	RG3
	0.9965
	0.9967
	0.0002
	
	
	
	1.0020
	1.0022
	0.0002

	266
	0.9950
	0.9953
	0.0003
	
	
	
	
	
	

	27
	
	
	
	
	
	
	1.0015
	1.0017
	0.0002

	33
	
	
	
	
	
	
	1.0015
	1.0013
	0.0002

	31
	
	
	
	
	
	
	1.0190
	1.0187
	0.0003

	32
	
	
	
	
	
	
	1.0180
	1.0183
	0.0003

	34
	
	
	
	
	
	
	1.0170
	1.0173
	0.0003

	15
	
	
	
	
	
	
	1.0177
	1.0178
	0.0001

	16
	
	
	
	
	
	
	
	
	

	17
	
	
	
	
	
	
	
	
	

	9
	1.0145
	1.0144
	0.0001
	
	
	
	
	
	

	RG2
	1.0080
	1.0080
	0.0000
	
	
	
	
	
	

	14
	1.0060
	1.0063
	0.0003
	
	
	
	
	
	

	10
	1.0060
	1.0060
	0.0000
	
	
	
	
	
	

	11
	1.0055
	1.0057
	0.0002
	
	
	
	
	
	


                          Table 4: Summary of Load-flow Results

	Quantities
	             Enerlyser
	                        IEEE

	
	Phase R
	Phase Y
	Phase B
	Phase R
	Phase Y 
	Phase B

	Feeder power flow(kW)
	1460.231
	963.142
	1193.264
	1463.861   
	963.484   
	1193.153   

	Feeder power flow(kVAr)
	581.901   
	343.267   
	399.102   
	582.101   
	343.687   
	398.976   

	Total system load (kW)
	1425.041
	931.021
	1166.712
	1425.022   
	930.965   
	1168.900   

	Total system load(kVAr)
	777.777
	524.571
	642.651
	777.767   
	524.544   
	637.773   

	Total system loss (kW)
	84.742
	95.611

	Total system loss(kVAr)
	139.944
	193.727




     CHAPTER- 5                                                                        

                                                             CONCLUSION AND 

                                                                FUTURE SCOPE
  

CONCLUSION
In this thesis work, generalized two-port parameters (A, B, C, D matrices) have been developed for the network elements. Also, a simple yet efficient load-flow algorithm has been implemented for radial distribution systems that converge very fast. The algorithm was tested on a standard IEEE123-bus distribution system. The algorithm converged and results were obtained. All KCL and KVL equations are satisfied on current and voltages so obtained. In this thesis, only three phase regulators with the same tap setting in all the three phases were modeled (equivalent to transformer) i.e., single phase and two phase regulators and three phase regulators with different tap settings in the three phases were not modeled . Hence, the branch currents of some phases and total system losses both kWh and kVAr showed some deviations from the results of the    standard test system. However, the voltage magnitudes and phase angles matched with the results of the test system. The algorithm developed does not involve any matrix factorization or inversion for that matter and is hence computationally less costly.                                                
  FUTURE SCOPE
Due to time constraints certain features of distribution networks could not be included in the model. Some of these listed below can be explored in future:
1. Lines with  multiple earth wires

2. Street light modeling

3. Three phase regulators with different taps in different phases

4. Inclusion of Single phase and two phase regulators  

                                                   APPENDIX - A    

                             IEEE 123 node Test Feeder data

                                    
                                              Table 5: Regulator Data                                                     


                                   Table 6: Line Segment Data

Line Segment Data (Contd.)                              Table 7 :       

                                                                                                Table 8: Transformer Data

                                                                                         Table 9: Shunt Capacitor Data

   Table 10: Three Phase Switches Data                                                                                                      

                                 Table 11: Spot Loads Data


 Impedance Data: 
Configuration 1:

           Z (R +jX) in ohms per mile

 0.4576  1.0780   0.1560  0.5017   0.1535  0.3849

                            0.4666  1.0482   0.1580  0.4236

                                                       0.4615  1.0651

          B in micro Siemens per mile

            5.6765   -1.8319   -0.6982

                           5.9809   -1.1645

                                          5.3971

Configuration 2:

           Z (R +jX) in ohms per mile

 0.4666  1.0482   0.1580  0.4236   0.1560  0.5017

                            0.4615  1.0651   0.1535  0.3845

                                                       0.4576  1.0780

          B in micro Siemens per mile

            5.9809   -1.1645   -1.8319

                            5.3971   -0.6982

                                           5.6765

Configuration 3:

           Z (R +jX) in ohms per mile

 0.4615  1.0651   0.1535  0.3849   0.1580  0.4236

                            0.4576  1.0780   0.1560  0.5017

                                                       0.4666  1.0482

          B in micro Siemens per mile

            5.3971   -0.6982   -1.1645

                           5.6765   -1.8319

                                          5.9809

Configuration 4:

           Z (R +jX) in ohms per mile

 0.4615  1.0651   0.1535  0.3849   0.1580  0.4236

                            0.4666  1.0482   0.1560  0.5017

                                                       0.4576  1.0780

          B in micro Siemens per mile

            5.3971   -1.1645   -0.6982

                           5.9809   -1.8319

                                          5.6765

Configuration 5:

           Z (R +jX) in ohms per mile

 0.4666  1.0482   0.1560  0.5017   0.1580  0.4236

                            0.4576  1.0780   0.1535  0.3849

                                                       0.4615  1.0651

          B in micro Siemens per mile

            5.9809   -1.8319   -1.1645

                           5.6765   -0.6982

                                          5.3971

Configuration 6:

           Z (R +jX) in ohms per mile

 0.4576  1.0780   0.1535  0.3849   0.1560  0.5017

                             0.4615  1.0651   0.1580  0.4236

                                                        0.4666  1.0482

          B in micro Siemens per mile

            5.6765   -0.6982   -1.8319

                            5.3971   -1.1645

                                            5.9809

Configuration 7:

           Z (R +jX) in ohms per mile

 0.4576  1.0780   0.0000  0.0000   0.1535  0.3849

                            0.0000  0.0000   0.0000  0.0000

                                                       0.4615  1.0651

          B in micro Siemens per mile

            5.1154    0.0000   -1.0549

                           0.0000    0.0000

                                          5.1704

Configuration 8:

           Z (R +jX) in ohms per mile

 0.4576  1.0780   0.1535  0.3849   0.0000  0.0000

                            0.4615  1.0651   0.0000  0.0000

                                                       0.0000  0.0000

          B in micro Siemens per mile

            5.1154   -1.0549    0.0000

                           5.1704    0.0000

                                          0.0000

Configuration 9:

           Z (R +jX) in ohms per mile

 1.3292  1.3475   0.0000  0.0000   0.0000  0.0000

                            0.0000  0.0000   0.0000  0.0000

                                                       0.0000  0.0000

          B in micro Siemens per mile

            4.5193    0.0000    0.0000

                           0.0000    0.0000

                                          0.0000

Configuration 10:

           Z (R +jX) in ohms per mile

 0.0000  0.0000   0.0000  0.0000   0.0000  0.0000

                            1.3292  1.3475   0.0000  0.0000

                                                       0.0000  0.0000

          B in micro Siemens per mile

            0.0000    0.0000    0.0000

                           4.5193    0.0000

                                          0.0000

Configuration 11:

           Z (R +jX) in ohms per mile

 0.0000  0.0000   0.0000  0.0000   0.0000  0.0000

                            0.0000  0.0000   0.0000  0.0000

                                                       1.3292  1.3475

          B in micro Siemens per mile

            0.0000    0.0000    0.0000

                           0.0000    0.0000

                                          4.5193

Configuration 12:

           Z (R +jX) in ohms per mile

 1.5209  0.7521   0.5198  0.2775   0.4924  0.2157

                            1.5329  0.7162   0.5198  0.2775

                                                       1.5209  0.7521

          B in micro Siemens per mile

           67.2242    0.0000    0.0000

                          67.2242    0.0000

                                          67.2242

REFERENCES 

[1] D. Shirmohammadi, H.W. Hong, A. Semlyen, G.X. Luo , “A compensation-based power flow for weakly meshed distribution and transmission networks”, IEEE Transactions on Power Systems, Vol. 3, pp. 753-762, 1988.
[2] S.K. Goswami, S.K. Basu, “Direct solution of distribution systems”, IEE Proceedings, Part C, Vol. 188, No. 1, pp. 78-88, 1991.
[3] D. Das, H.S. Nagi, D.P. Kothari, “Novel method for solving radial distribution networks”, IEE Proceedings, Part C, Vol.141, No. 4, pp. 291-298, 1994.
[4]  M.E. Baran, F.F. Wu, “Optimal capacitor placement on a radial distribution systems”, IEEE Transactions  on Power Delivery, Vol. 4, No. 1, pp. 725-735, 1989.
[5] M.E. Baran, F.F. Wu “Optimal sizing of capacitors placed on a radial distribution system”, IEEE Transactions on Power Delivery, Vol. 4, No. 1, pp. 735-41, 1989.
[6] S. Ghosh, D. Das, “Method for load flow solution of radial distribution networks”, IEE Proceedings, Generation, Transmission and Distribution, Vol. 146, No. 6, pp. 641-648, 1999.
[7] M. Ciric Rade, Feltrin Antonio Padilha and F. Ochoa Luis, “Power Flow in Four-Wire Distribution Networks—General Approach” IEEE Transactions on Power Systems, Vol.18

No.14, pp.1283-1290, Nov.2003

[8] G.W. Chang, S.Y. Chu, and H.L. Wang, “A Simplified Forward and Backward Sweep Approach for Distribution System Load Flow Analysis” International Conference on Power System Technology, Vol.15, No.126, pp. 1440-1445, 2006

[9] M.A. Golkar, “A Novel Method for Load Flow Analysis of Unbalanced Three-Phase Radial Distribution Networks” Turk J Elec Engin, Vol.15, No.3,pp 329-337, 2007
[10] J.H. Teng, “A Network-Topology-based Three-Phase Load Flow for  Distribution Systems” Proc. Natl. Sci. Counc. ROC(A) Vol. 24, No. 4,  pp. 259-264,2000.

 [11] W.M. Kersting, “Radial distribution test feeders.” IEEE Transactions on Power System, Vol 6, No. 3, pp975-985, 1991       

[12] B. Stott and O. Alsac “Fast decoupled load flow.” IEEE Transactions on Power 
Apparatus and Systems, PAS, Vol. 93, No. 3, pp 859-867, 1974

[13] K.A. Birt, J.J. Graffy, and J.D. McDonald, “Three phase load flow program.” IEEE Transactions on Power Apparatus and Systems, PAS, Vol. 95, No. 1, pp59-65,1976

[14] T.H. Chen, M.S. Chen, T. Inoue, P. Kotas, and E.A. Chebli,  “ Three-phase co-generator and transformer models for distribution system analysis” IEEE Transactions on Power Delivery, Vol.6, pp1671-1681,1991

[15] T.H. Chen, M.S. Chen, T. Inoue, P. Kotas, and E.A. Chebli,  “ Distribution system power flow analysis a rigid approach” IEEE Transactions  on Power Delivery,Vol. 6, pp1146-1152,1991

 [16] J.H. Teng and V. Lin, “Current-based power flow solutions for distribution systems.” IEEE ICPST, pp. 414-428, Beijing, P.R.C, 1994

[17] T.H. Chen and J.D. Chang , “ Open wye-open delta and open delta-open delta transformer models for rigorous distribution system analysis.” IEE Proceedings, Part C, Vol.139,pp 227-234,1994

[18] G.X. Luo and A. Semlyen, “Efficient load flow for large weakly meshed networks.” IEEE Transactions on Power Systems, Vol. 5, pp1309-1316, 1990

[19] IEEE Tutorial Course on Distribution Automation. 88 EHO,280-8 PWR, IEEE Power Engineering Society, Piscataway, NJ, U.S.A, 1988

[20] IEEE Tutorial Course on Power Distribution Planning. 92 EHO 381-6 PWR, IEEE Power Engineering Society, Piscataway, NJ, U.S.A, 1992

� EMBED Equation.DSMT4  ���





� EMBED TurboCAD.Drawing.4  ���





� EMBED Excel.Sheet.8  ���





� EMBED Excel.Sheet.8  ���





� EMBED Excel.Sheet.8  ���





� EMBED Excel.Sheet.8  ���





� EMBED Excel.Sheet.8  ���





� EMBED Excel.Sheet.8  ���





� EMBED Excel.Sheet.8  ���





� EMBED Excel.Sheet.8  ���





� EMBED Excel.Sheet.8  ���





� EMBED Excel.Sheet.8  ���





� EMBED Excel.Sheet.8  ���





� EMBED Excel.Sheet.8  ���









62
  


PAGE  

1



_1274713591.unknown

_1305276586.unknown

_1305277387.unknown

_1305278259.unknown

_1305278572.unknown

_1305278657.unknown

_1305278440.unknown

_1305277394.unknown

_1305277367.unknown

_1305277373.unknown

_1274715160.unknown

_1274715289.unknown

_1274716041.unknown

_1305276447.unknown

_1274716091.unknown

_1274715982.unknown

_1274715253.unknown

_1274714435.unknown

_1274714494.unknown

_1274713796.unknown

_1151221112.xls
Sheet1

		Regulator Data

		Regulator ID:				1

		Line Segment:				150 - 149

		Location:				150

		Phases:				A-B-C

		Connection:				3-Ph, Wye

		Monitoring Phase:				A

		Bandwidth:				2.0 volts

		PT Ratio:				20

		Primary CT Rating:				700

		Compensator:				Ph-A

		R - Setting:				3

		X - Setting:				7.5

		Voltage Level:				120

		Regulator ID:				2

		Line Segment:				9 - 14

		Location:				9

		Phases:				A

		Connection:				1-Ph, L-G

		Monitoring Phase:				A

		Bandwidth:				2.0 volts

		PT Ratio:				20

		Primary CT Rating:				50

		Compensator:				Ph-A

		R - Setting:				0.4

		X - Setting:				0.4

		Voltage Level:				120

		Regulator ID:				3

		Line Segment:				25 - 26

		Location:				25

		Phases:				A-C

		Connection:				2-Ph,L-G

		Monitoring Phase:				A & C

		Bandwidth:				1

		PT Ratio:				20

		Primary CT Rating:				50

		Compenator:				Ph-A		Ph-C

		R - Setting:				0.4		0.4

		X - Setting:				0.4		0.4

		Voltage Level:				120		120

		Regulator ID:				4

		Line Segment:				160 - 67

		Location:				160

		Phases:				A-B-C

		Connection:				3-Ph, LG

		Monitoring Phase:				A-B-C

		Bandwidth:				2

		PT Ratio:				20

		Primary CT Rating:				300

		Compensator:				Ph-A		Ph-B		Ph-C

		R - Setting:				0.6		1.4		0.2

		X - Setting:				1.3		2.6		1.4

		Voltage Level:				124		124		124





Sheet2

		





Sheet3

		






_1272185307.unknown

_1274713513.unknown

_1274713537.unknown

_1274709077.unknown

_1274713462.unknown

_1272186140.unknown

_1272184800.unknown

_1272185184.unknown

_1151221659.xls
Sheet1

		Underground Line Configuration (Config.)

		Config.		Phasing		Cable		Spacing ID

		12		A B C		1/0 AA, CN		515





Sheet2

		





Sheet3

		






_1151221732.xls
Sheet1

		Shunt Capacitors

		Node		Ph-A		Ph-B		Ph-C

				kVAr		kVAr		kVAr

		83		200		200		200

		88		50

		90				50

		92						50

		Total		250		250		250





Sheet2

		





Sheet3

		






_1151221339.xls
Sheet1

		Spot Loads

		Node		Load		Ph-1		Ph-1		Ph-2		Ph-2		Ph-3		Ph-4

				Model		kW		kVAr		kW		kVAr		kW		kVAr

		1		Y-PQ		40		20		0		0		0		0

		2		Y-PQ		0		0		20		10		0		0

		4		Y-PQ		0		0		0		0		40		20

		5		Y-I		0		0		0		0		20		10

		6		Y-Z		0		0		0		0		40		20

		7		Y-PQ		20		10		0		0		0		0

		9		Y-PQ		40		20		0		0		0		0

		10		Y-I		20		10		0		0		0		0

		11		Y-Z		40		20		0		0		0		0

		12		Y-PQ		0		0		20		10		0		0

		16		Y-PQ		0		0		0		0		40		20

		17		Y-PQ		0		0		0		0		20		10

		19		Y-PQ		40		20		0		0		0		0

		20		Y-I		40		20		0		0		0		0

		22		Y-Z		0		0		40		20		0		0

		24		Y-PQ		0		0		0		0		40		20

		28		Y-I		40		20		0		0		0		0

		29		Y-Z		40		20		0		0		0		0

		30		Y-PQ		0		0		0		0		40		20

		31		Y-PQ		0		0		0		0		20		10

		32		Y-PQ		0		0		0		0		20		10

		33		Y-I		40		20		0		0		0		0

		34		Y-Z		0		0		0		0		40		20

		35		D-PQ		40		20		0		0		0		0

		37		Y-Z		40		20		0		0		0		0

		38		Y-I		0		0		20		10		0		0

		39		Y-PQ		0		0		20		10		0		0

		41		Y-PQ		0		0		0		0		20		10

		42		Y-PQ		20		10		0		0		0		0

		43		Y-Z		0		0		40		20		0		0

		45		Y-I		20		10		0		0		0		0

		46		Y-PQ		20		10		0		0		0		0

		47		Y-I		35		25		35		25		35		25

		48		Y-Z		70		50		70		50		70		50

		49		Y-PQ		35		25		70		50		35		25

		50		Y-PQ		0		0		0		0		40		20

		51		Y-PQ		20		10		0		0		0		0

		52		Y-PQ		40		20		0		0		0		0

		53		Y-PQ		40		20		0		0		0		0

		55		Y-Z		20		10		0		0		0		0

		56		Y-PQ		0		0		20		10		0		0

		58		Y-I		0		0		20		10		0		0

		59		Y-PQ		0		0		20		10		0		0

		60		Y-PQ		20		10		0		0		0		0

		62		Y-Z		0		0		0		0		40		20

		63		Y-PQ		40		20		0		0		0		0

		64		Y-I		0		0		75		35		0		0

		65		D-Z		35		25		35		25		70		50

		66		Y-PQ		0		0		0		0		75		35

		68		Y-PQ		20		10		0		0		0		0

		69		Y-PQ		40		20		0		0		0		0

		70		Y-PQ		20		10		0		0		0		0

		71		Y-PQ		40		20		0		0		0		0

		73		Y-PQ		0		0		0		0		40		20

		74		Y-Z		0		0		0		0		40		20

		75		Y-PQ		0		0		0		0		40		20

		76		D-I		105		80		70		50		70		50

		77		Y-PQ		0		0		40		20		0		0

		79		Y-Z		40		20		0		0		0		0

		80		Y-PQ		0		0		40		20		0		0

		82		Y-PQ		40		20		0		0		0		0

		83		Y-PQ		0		0		0		0		20		10

		84		Y-PQ		0		0		0		0		20		10

		85		Y-PQ		0		0		0		0		40		20

		86		Y-PQ		0		0		20		10		0		0

		87		Y-PQ		0		0		40		20		0		0

		88		Y-PQ		40		20		0		0		0		0

		90		Y-I		0		0		40		20		0		0

		92		Y-PQ		0		0		0		0		40		20

		94		Y-PQ		40		20		0		0		0		0

		95		Y-PQ		0		0		20		10		0		0

		96		Y-PQ		0		0		20		10		0		0

		98		Y-PQ		40		20		0		0		0		0

		99		Y-PQ		0		0		40		20		0		0

		100		Y-Z		0		0		0		0		40		20

		102		Y-PQ		0		0		0		0		20		10

		103		Y-PQ		0		0		0		0		40		20

		104		Y-PQ		0		0		0		0		40		20

		106		Y-PQ		0		0		40		20		0		0

		107		Y-PQ		0		0		40		20		0		0

		109		Y-PQ		40		20		0		0		0		0

		111		Y-PQ		20		10		0		0		0		0

		112		Y-I		20		10		0		0		0		0

		113		Y-Z		40		20		0		0		0		0

		114		Y-PQ		20		10		0		0		0		0

		Total				1420		775		915		515		1155		635





Sheet2

		





Sheet3

		






_1151221396.xls
Sheet1

		Spot Loads

		Node		Load		Ph-1		Ph-1		Ph-2		Ph-2		Ph-3		Ph-4

				Model		kW		kVAr		kW		kVAr		kW		kVAr

		1		Y-PQ		40		20		0		0		0		0

		2		Y-PQ		0		0		20		10		0		0

		4		Y-PQ		0		0		0		0		40		20

		5		Y-I		0		0		0		0		20		10

		6		Y-Z		0		0		0		0		40		20

		7		Y-PQ		20		10		0		0		0		0

		9		Y-PQ		40		20		0		0		0		0

		10		Y-I		20		10		0		0		0		0

		11		Y-Z		40		20		0		0		0		0

		12		Y-PQ		0		0		20		10		0		0

		16		Y-PQ		0		0		0		0		40		20

		17		Y-PQ		0		0		0		0		20		10

		19		Y-PQ		40		20		0		0		0		0

		20		Y-I		40		20		0		0		0		0

		22		Y-Z		0		0		40		20		0		0

		24		Y-PQ		0		0		0		0		40		20

		28		Y-I		40		20		0		0		0		0

		29		Y-Z		40		20		0		0		0		0

		30		Y-PQ		0		0		0		0		40		20

		31		Y-PQ		0		0		0		0		20		10

		32		Y-PQ		0		0		0		0		20		10

		33		Y-I		40		20		0		0		0		0

		34		Y-Z		0		0		0		0		40		20

		35		D-PQ		40		20		0		0		0		0

		37		Y-Z		40		20		0		0		0		0

		38		Y-I		0		0		20		10		0		0

		39		Y-PQ		0		0		20		10		0		0

		41		Y-PQ		0		0		0		0		20		10

		42		Y-PQ		20		10		0		0		0		0

		43		Y-Z		0		0		40		20		0		0

		45		Y-I		20		10		0		0		0		0

		46		Y-PQ		20		10		0		0		0		0

		47		Y-I		35		25		35		25		35		25

		48		Y-Z		70		50		70		50		70		50

		49		Y-PQ		35		25		70		50		35		25

		50		Y-PQ		0		0		0		0		40		20

		51		Y-PQ		20		10		0		0		0		0

		52		Y-PQ		40		20		0		0		0		0

		53		Y-PQ		40		20		0		0		0		0

		55		Y-Z		20		10		0		0		0		0

		56		Y-PQ		0		0		20		10		0		0

		58		Y-I		0		0		20		10		0		0

		59		Y-PQ		0		0		20		10		0		0

		60		Y-PQ		20		10		0		0		0		0

		62		Y-Z		0		0		0		0		40		20

		63		Y-PQ		40		20		0		0		0		0

		64		Y-I		0		0		75		35		0		0

		65		D-Z		35		25		35		25		70		50

		66		Y-PQ		0		0		0		0		75		35

		68		Y-PQ		20		10		0		0		0		0

		69		Y-PQ		40		20		0		0		0		0

		70		Y-PQ		20		10		0		0		0		0

		71		Y-PQ		40		20		0		0		0		0

		73		Y-PQ		0		0		0		0		40		20

		74		Y-Z		0		0		0		0		40		20

		75		Y-PQ		0		0		0		0		40		20

		76		D-I		105		80		70		50		70		50

		77		Y-PQ		0		0		40		20		0		0

		79		Y-Z		40		20		0		0		0		0

		80		Y-PQ		0		0		40		20		0		0

		82		Y-PQ		40		20		0		0		0		0

		83		Y-PQ		0		0		0		0		20		10

		84		Y-PQ		0		0		0		0		20		10

		85		Y-PQ		0		0		0		0		40		20

		86		Y-PQ		0		0		20		10		0		0

		87		Y-PQ		0		0		40		20		0		0

		88		Y-PQ		40		20		0		0		0		0

		90		Y-I		0		0		40		20		0		0

		92		Y-PQ		0		0		0		0		40		20

		94		Y-PQ		40		20		0		0		0		0

		95		Y-PQ		0		0		20		10		0		0

		96		Y-PQ		0		0		20		10		0		0

		98		Y-PQ		40		20		0		0		0		0

		99		Y-PQ		0		0		40		20		0		0

		100		Y-Z		0		0		0		0		40		20

		102		Y-PQ		0		0		0		0		20		10

		103		Y-PQ		0		0		0		0		40		20

		104		Y-PQ		0		0		0		0		40		20

		106		Y-PQ		0		0		40		20		0		0

		107		Y-PQ		0		0		40		20		0		0

		109		Y-PQ		40		20		0		0		0		0

		111		Y-PQ		20		10		0		0		0		0

		112		Y-I		20		10		0		0		0		0

		113		Y-Z		40		20		0		0		0		0

		114		Y-PQ		20		10		0		0		0		0

		Total				1420		775		915		515		1155		635





Sheet2

		





Sheet3

		






_1151221172.xls
Sheet1

		Regulator Data

		Regulator ID:				1

		Line Segment:				150 - 149

		Location:				150

		Phases:				A-B-C

		Connection:				3-Ph, Wye

		Monitoring Phase:				A

		Bandwidth:				2.0 volts

		PT Ratio:				20

		Primary CT Rating:				700

		Compensator:				Ph-A

		R - Setting:				3

		X - Setting:				7.5

		Voltage Level:				120

		Regulator ID:				2

		Line Segment:				9 - 14

		Location:				9

		Phases:				A

		Connection:				1-Ph, L-G

		Monitoring Phase:				A

		Bandwidth:				2.0 volts

		PT Ratio:				20

		Primary CT Rating:				50

		Compensator:				Ph-A

		R - Setting:				0.4

		X - Setting:				0.4

		Voltage Level:				120

		Regulator ID:				3

		Line Segment:				25 - 26

		Location:				25

		Phases:				A-C

		Connection:				2-Ph,L-G

		Monitoring Phase:				A & C

		Bandwidth:				1

		PT Ratio:				20

		Primary CT Rating:				50

		Compenator:				Ph-A		Ph-C

		R - Setting:				0.4		0.4

		X - Setting:				0.4		0.4

		Voltage Level:				120		120

		Regulator ID:				4

		Line Segment:				160 - 67

		Location:				160

		Phases:				A-B-C

		Connection:				3-Ph, LG

		Monitoring Phase:				A-B-C

		Bandwidth:				2

		PT Ratio:				20

		Primary CT Rating:				300

		Compensator:				Ph-A		Ph-B		Ph-C

		R - Setting:				0.6		1.4		0.2

		X - Setting:				1.3		2.6		1.4

		Voltage Level:				124		124		124





Sheet2

		





Sheet3

		






_1150619304.unknown

_1151220145.xls
Sheet1

		Line Segment Data

		Node A		Node B		Length (ft.)		Config.

		1		2		175		10

		1		3		250		11

		1		7		300		1

		3		4		200		11

		3		5		325		11

		5		6		250		11

		7		8		200		1

		8		12		225		10

		8		9		225		9

		8		13		300		1

		9		14		425		9

		13		34		150		11

		13		18		825		2

		14		11		250		9

		14		10		250		9

		15		16		375		11

		15		17		350		11

		18		19		250		9

		18		21		300		2

		19		20		325		9

		21		22		525		10

		21		23		250		2

		23		24		550		11

		23		25		275		2

		25		26		350		7

		25		28		200		2

		26		27		275		7

		26		31		225		11

		27		33		500		9

		28		29		300		2

		29		30		350		2

		30		250		200		2

		31		32		300		11

		34		15		100		11

		35		36		650		8

		35		40		250		1

		36		37		300		9

		36		38		250		10

		38		39		325		10

		40		41		325		11

		40		42		250		1

		42		43		500		10

		42		44		200		1

		44		45		200		9

		44		47		250		1

		45		46		300		9

		47		48		150		4

		47		49		250		4

		49		50		250		4

		50		51		250		4

		52		53		200		1

		53		54		125		1

		54		55		275		1

		54		57		350		3

		55		56		275		1

		57		58		250		10

		57		60		750		3

		58		59		250		10

		60		61		550		5

		60		62		250		12

		62		63		175		12

		63		64		350		12

		64		65		425		12

		65		66		325		12

		67		68		200		9

		67		72		275		3

		67		97		250		3

		68		69		275		9

		69		70		325		9

		70		71		275		9

		72		73		275		11

		72		76		200		3

		73		74		350		11

		74		75		400		11

		76		77		400		6

		76		86		700		3

		77		78		100		6

		78		79		225		6

		78		80		475		6

		80		81		475		6

		81		82		250		6

		81		84		675		11

		82		83		250		6

		84		85		475		11

		86		87		450		6

		87		88		175		9

		87		89		275		6

		89		90		225		10

		89		91		225		6

		91		92		300		11

		91		93		225		6

		93		94		275		9

		93		95		300		6

		95		96		200		10

		97		98		275		3

		98		99		550		3

		99		100		300		3

		100		450		800		3

		101		102		225		11

		101		105		275		3

		102		103		325		11

		103		104		700		11

		105		106		225		10

		105		108		325		3

		106		107		575		10

		108		109		450		9

		108		300		1000		3

		109		110		300		9

		110		111		575		9

		110		112		125		9

		112		113		525		9

		113		114		325		9

		135		35		375		4

		149		1		400		1

		152		52		400		1

		160		67		350		6

		197		101		250		3





Sheet2

		





Sheet3

		






_1151220375.xls
Sheet1

		Overhead Line Configurations (Config.)

		Config.		Phasing		Phase Cond.		Neutral Cond.		Spacing

						ACSR		ACSR		ID

		1		A B C N		336,400 26/7		4/0 6/1		500

		2		C A B N		336,400 26/7		4/0 6/1		500

		3		B C A N		336,400 26/7		4/0 6/1		500

		4		C B A N		336,400 26/7		4/0 6/1		500

		5		B A C N		336,400 26/7		4/0 6/1		500

		6		A C B N		336,400 26/7		4/0 6/1		500

		7		A C N		336,400 26/7		4/0 6/1		505

		8		A B N		336,400 26/7		4/0 6/1		505

		9		A N		1/0		1/0		510

		10		B N		1/0		1/0		510

		11		C N		1/0		1/0		510





Sheet2

		





Sheet3

		






_1151220744.xls
Sheet1

		Three Phase Switches

		Node A		Node B		Normal

		13		152		closed

		18		135		closed

		60		160		closed

		61		610		closed

		97		197		closed

		150		149		closed

		250		251		open

		450		451		open

		54		94		open

		151		300		open

		300		350		open





Sheet2

		





Sheet3

		






_1151220887.xls
Sheet1

		Transformer Data

				kVA		kV-high		kV-low		R - %		X - %

		Substation		5,000		115 - D		4.16 Gr-W		1		8

		XFM - 1		150		4.16 - D		.480 - D		1.27		2.72





Sheet2

		





Sheet3

		






_1151220195.xls
Sheet1

		Line Segment Data

		Node A		Node B		Length (ft.)		Config.

		1		2		175		10

		1		3		250		11

		1		7		300		1

		3		4		200		11

		3		5		325		11

		5		6		250		11

		7		8		200		1

		8		12		225		10

		8		9		225		9

		8		13		300		1

		9		14		425		9

		13		34		150		11

		13		18		825		2

		14		11		250		9

		14		10		250		9

		15		16		375		11

		15		17		350		11

		18		19		250		9

		18		21		300		2

		19		20		325		9

		21		22		525		10

		21		23		250		2

		23		24		550		11

		23		25		275		2

		25		26		350		7

		25		28		200		2

		26		27		275		7

		26		31		225		11

		27		33		500		9

		28		29		300		2

		29		30		350		2

		30		250		200		2

		31		32		300		11

		34		15		100		11

		35		36		650		8

		35		40		250		1

		36		37		300		9

		36		38		250		10

		38		39		325		10

		40		41		325		11

		40		42		250		1

		42		43		500		10

		42		44		200		1

		44		45		200		9

		44		47		250		1

		45		46		300		9

		47		48		150		4

		47		49		250		4

		49		50		250		4

		50		51		250		4

		52		53		200		1

		53		54		125		1

		54		55		275		1

		54		57		350		3

		55		56		275		1

		57		58		250		10

		57		60		750		3

		58		59		250		10

		60		61		550		5

		60		62		250		12

		62		63		175		12

		63		64		350		12

		64		65		425		12

		65		66		325		12

		67		68		200		9

		67		72		275		3

		67		97		250		3

		68		69		275		9

		69		70		325		9

		70		71		275		9

		72		73		275		11

		72		76		200		3

		73		74		350		11

		74		75		400		11

		76		77		400		6

		76		86		700		3

		77		78		100		6

		78		79		225		6

		78		80		475		6

		80		81		475		6

		81		82		250		6

		81		84		675		11

		82		83		250		6

		84		85		475		11

		86		87		450		6

		87		88		175		9

		87		89		275		6

		89		90		225		10

		89		91		225		6

		91		92		300		11

		91		93		225		6

		93		94		275		9

		93		95		300		6

		95		96		200		10

		97		98		275		3

		98		99		550		3

		99		100		300		3

		100		450		800		3

		101		102		225		11

		101		105		275		3

		102		103		325		11

		103		104		700		11

		105		106		225		10

		105		108		325		3

		106		107		575		10

		108		109		450		9

		108		300		1000		3

		109		110		300		9

		110		111		575		9

		110		112		125		9

		112		113		525		9

		113		114		325		9

		135		35		375		4

		149		1		400		1

		152		52		400		1

		160		67		350		6

		197		101		250		3





Sheet2

		





Sheet3

		






_1151220270.xls
Sheet1

		Line Segment Data

		Node A		Node B		Length (ft.)		Config.

		1		2		175		10

		1		3		250		11

		1		7		300		1

		3		4		200		11

		3		5		325		11

		5		6		250		11

		7		8		200		1

		8		12		225		10

		8		9		225		9

		8		13		300		1

		9		14		425		9

		13		34		150		11

		13		18		825		2

		14		11		250		9

		14		10		250		9

		15		16		375		11

		15		17		350		11

		18		19		250		9

		18		21		300		2

		19		20		325		9

		21		22		525		10

		21		23		250		2

		23		24		550		11

		23		25		275		2

		25		26		350		7

		25		28		200		2

		26		27		275		7

		26		31		225		11

		27		33		500		9

		28		29		300		2

		29		30		350		2

		30		250		200		2

		31		32		300		11

		34		15		100		11

		35		36		650		8

		35		40		250		1

		36		37		300		9

		36		38		250		10

		38		39		325		10

		40		41		325		11

		40		42		250		1

		42		43		500		10

		42		44		200		1

		44		45		200		9

		44		47		250		1

		45		46		300		9

		47		48		150		4

		47		49		250		4

		49		50		250		4

		50		51		250		4

		52		53		200		1

		53		54		125		1

		54		55		275		1

		54		57		350		3

		55		56		275		1

		57		58		250		10

		57		60		750		3

		58		59		250		10

		60		61		550		5

		60		62		250		12

		62		63		175		12

		63		64		350		12

		64		65		425		12

		65		66		325		12

		67		68		200		9

		67		72		275		3

		67		97		250		3

		68		69		275		9

		69		70		325		9

		70		71		275		9

		72		73		275		11

		72		76		200		3

		73		74		350		11

		74		75		400		11

		76		77		400		6

		76		86		700		3

		77		78		100		6

		78		79		225		6

		78		80		475		6

		80		81		475		6

		81		82		250		6

		81		84		675		11

		82		83		250		6

		84		85		475		11

		86		87		450		6

		87		88		175		9

		87		89		275		6

		89		90		225		10

		89		91		225		6

		91		92		300		11

		91		93		225		6

		93		94		275		9

		93		95		300		6

		95		96		200		10

		97		98		275		3

		98		99		550		3

		99		100		300		3

		100		450		800		3

		101		102		225		11

		101		105		275		3

		102		103		325		11

		103		104		700		11

		105		106		225		10

		105		108		325		3

		106		107		575		10

		108		109		450		9

		108		300		1000		3

		109		110		300		9

		110		111		575		9

		110		112		125		9

		112		113		525		9

		113		114		325		9

		135		35		375		4

		149		1		400		1

		152		52		400		1

		160		67		350		6

		197		101		250		3





Sheet2

		





Sheet3

		






_1150621689.unknown

_1151219597.bin

_1150620189.unknown

_1150618673.unknown

_1150618941.unknown

_1150619145.unknown

_1150618836.unknown

_1150295233.unknown

_1150295547.unknown

_1150298965.unknown

_1150299061.unknown

_1150295822.unknown

_1150295370.unknown

_1150292932.unknown

